## Cover sheet
Cover sheet
Document | Residences source analysis
Version # | 3
Country | nl
Year data | 2019
Date | Dec 31, 2015
Author | Joris Berkhout (2015), Mart Lubben (2021)
Organisation | Quintel Intelligence
Legend
Cells | Intermediate (calculation)
Result
Manual input
Reference to manual input or data input
Tabs | Introductory
Dashboard
Research data
Sources
Results
Main calculations
Additional calculations
Output to csv
Comments
This document sums up the efforts to improve the accuracy of the residences analysis. I derived the dashboard values for the residences analysis in a bottom-up approach by combining several sources. As not all required data was available, I had to make some assumptions. Both the used sources as well as the assumptions are stated on the 'Sources and assumptions' page.

## Changelog
Changelog
Date | Changes | Version
2015-12-31 | First iteration of this document | 1
2016-01-18 | Improved documentation and traceability of numbers | 2
May 4, 2021 | Updated to 2019 data | 3

## Sources and assumptions
Sources and assumptions
1 | The Applicance split is based on the RVO 'energiecijfers databank'
2 | The split of electricity is done based on the following steps:
| - | Eurostat is used disaggregated final electricity consumption in households - quantities for electricity demand of Cooling, Cooking, Space heating and Hot Water.
| - | Electricity for lighting is based on the RVO 'energiecijfers databank'
| - | The remaining of the electricity demand is split the various technologies/applications from 'Energietrends 2016', page 9 (https://refman.energytransitionmodel.com/publications/2068)
| - | I combined the stated categories into the technologies used in the ETM
3 | The lighting technology splits determined in the NL/2012 dataset are re-used here as they were well-researched within the Energy Productivity project
4 | I have used data from CBS -statline to obtain the final demands for heat pumps heating and cooling
Assumption
1 | The split for FD for space heating and electiricity is based on the Energiecijfers databank (see tab application split)
2 | I have assumed that oil and coal can only be used for space heating and not for hot water
3 | I have assumed that wood pellets are not used for cooking in 2019
4 | I have assumed that the share of gas-fired heaters for space heating is half the share of wood pellet heater for space heating. The hot water for gas-fired heaters is based on the applicance split between space heating and hot water.
Final result
Finally, I used the efficiencies to translate the final demand in a useful demand, using the latter to determine the technology shares for each application
Improvements
The cooling split to technologies could be improved. Data is missing at this moment. The assumptions is that heat pump ground and air cool the same amount.
The electricity split between tv, computers, dishwashers etc can be improved. An old source 'Energietrends 2016' used.
Not a good source is known for the % of led lighting in houses.
The split between hybrid het pumps and heat pumps is not known
The amount natural gas used bygas fire heaters is not known.

## Final demand per energy carrier
Final demand per energy carrier
Notes
In this sheet an overview is presented of the allocation of energy carriers over the different technologies and applications. In the next three sheets, the final demands for all electrical technologies are calculated as well as the cooking, heat pump and cooling final demands.
Final demand per energy carrier
Application | Technology used | Percentage of final demand | Final demand for network gas (TJ) | Final demand for electricity (TJ) | Final demand for solar thermal (TJ) | Final demand for coal (TJ) | Final demand for oil (TJ) | Final demand for woodpellets (TJ) | Final demand for district heat (TJ) | Effective efficiency (heating, cooling, cooking or lighting) | Useful demand (TJ) | Share of useful demand within application
Total IEA value
| All |  | 270203.7209 | 84094.0551 | 966.0204 | 46.8922 | 447.0261 | 16008.3554 | 12081.0533
|  |  | 223626.4693 | 6129 | 0 | 46.8922 | 447.0261 | 16008.3554 | 10207.7856
Space Heating
Final demand (TJ) | Condensing Combi Boiler (space heating) | 84.05% | 215550.2948 | [6 empty] | 1.07 | 230638.8154 | 84.15%
256465.5286 | Electric Heat Pump (ground) (space heating) | 0.1776% |  | 455.4236 | [5 empty] | 4.8 | 2186.0332 | 0.7976%
| District Heating (space heating) | 3.98% | [6 empty] | 10207.7856 | 1 | 10207.7856 | 3.724%
| electricity-driven Heat pump (air) (space heating) | 0.5702% |  | 1462.3456 | [5 empty] | 4.5 | 6580.5552 | 2.401%
| woodpellets (biomass) heaters (space heating) | 6.242% | [5 empty] | 16008.3554 |  | 0.82 | 13126.8514 | 4.789%
| Electric Heaters (resistance) (space heating) | 1.615% |  | 4141.8739 | [5 empty] | 1 | 4141.8739 | 1.511%
| Gas-fired Heaters (space heating) | 3.121% | 8004.1777 | [6 empty] | 0.8 | 6403.3422 | 2.336%
| Oil-fired Heaters (space heating) | 0.1743% |  |  |  |  | 447.0261 |  |  | 0.85 | 379.9722 | 0.1386%
| Coal-fired Heaters (space heating) | 0.01828% |  |  |  | 46.8922 |  |  |  | 0.8 | 37.5137 | 0.01369%
| hybrid heat pump (space heating | 0.05512% | 71.9968 | 69.3569 | [5 empty] | 2.811 | 388.9268 | 0.1419%
[13 empty] | 4.5 | 1.067
[13 empty] | 312.1062 | 76.8206
Hot Water
Final demand (TJ) | Condensing Combi Boiler (hot water) | 86.58% | 39552.5086 | [6 empty] | 0.9 | 35597.2577 | 85.07%
45683.7693 | Electric Heat Pump (ground) (hot water) | 0.1829% |  | 83.5764 | [5 empty] | 3 | 250.7293 | 0.5992%
| District Heating (hot water) | 4.101% | [6 empty] | 1873.2676 | 1 | 1873.2676 | 4.477%
| electricity-driven Heat pump (air) (hot water) | 0.5818% |  | 265.7715 | [5 empty] | 3 | 797.3145 | 1.905%
| woodpellets (biomass) heaters (hot water) | 0% | [7 empty] | 0.82 | 0 | 0%
| Electric Heaters (resistance) (hot water) | 5.278% |  | 2411.2404 | [5 empty] | 0.95 | 2290.6784 | 5.474%
| Gas-fired Heaters (hot water) | 3.215% | 1468.8756 | [6 empty] | 0.67 | 984.1466 | 2.352%
| Oil-fired Heaters (hot water) | 0% |  |  |  |  | 0 |  |  | 0.85 | 0 | 0%
| Coal-fired Heaters (hot water) | 0% |  |  |  | 0 |  |  |  | 0.8 | 0 | 0%
| hybrid heat pump (hot water) | 0.06245% | 17.1175 | 11.4117 | [5 empty] | 1.6875 | 49.6407 | 0.1186%
0.06245%
[13 empty] | 3 | 0.9
[13 empty] | 34.235 | 15.4057
Space Cooling
Final demand (TJ) | Electric heat pump ground | 2.022% |  | 19.546 | [5 empty] | 19 | 371.3749 | 8.67%
966.465 | Electric heat pump air | 25.71% |  | 248.4331 | [5 empty] | 4.5 | 1117.9491 | 26.1%
| Conventional electric airconditioning | 72.27% |  | 698.4858 | [5 empty] | 4 | 2793.9433 | 65.23%
Cooking
Final demand (TJ) | Gas stoves | 65.79% | 5538.75 | [6 empty] | 0.4 | 2215.5 | 54.49%
8418.75 | Electric stoves (resistance) | 3.33% |  | 280.3053 | [5 empty] | 0.55 | 154.1679 | 3.792%
| Electric halogen stoves | 24.42% |  | 2055.5725 | [5 empty] | 0.6 | 1233.3435 | 30.34%
| Electric induction stoves | 6.463% |  | 544.1221 | [5 empty] | 0.85 | 462.5038 | 11.38%
| Biomass stoves | 0% | [5 empty] | 0 |  | 0.3 | 0 | 0%
Lighting
Final demand (TJ) | Incandescent lamps | 79.19% |  | 6968.4909 | [5 empty] | 0.05 | 8.1857 | 40.93% | * The useful demand shares for lighting are based on expert data
8800 | Low energy light bulbs / fluorescent lighting | 18.77% |  | 1651.5202 | [5 empty] | 0.25 | 1.94 | 48.5% | ** These are the relative final demands
| LED lamps | 2.045% |  | 179.9889 | [5 empty] | 0.5 | 0.21143 | 10.57%
Electrical Appliances
Final demand (TJ) | Dishwashers | 8.197% |  | 5126.7697
62546.5901 | Fridges / Freezers | 29.51% |  | 18456.3709
| Washing Machines | 8.197% |  | 5126.7697
| Dryers | 9.836% |  | 6152.1236
| Television | 13.11% |  | 8202.8315
| Computers / Media | 13.11% |  | 8202.8315
| Vacuum Cleaners | 6.557% |  | 4101.4157
| Others | 11.48% |  | 7177.4776
Subtotal of defined appliances |  |  | Network gas | Electricity | Solar thermal | Coal | Oil | Woodpellets | District heat
| Subtotal (TJ) |  | 270203.7209 | 84094.0551 | 0 | 46.8922 | 447.0261 | 16008.3554 | 12081.0533
| Diiference between Carrier demand in analysis and Carrier demand in IEA data (TJ) |  | 0 | 0 | 966.0204 | 0 | 0 | 0 | 0
| Relative error |  | 0% | 0% | 100% | 0% | 0% | 0% | 0%

## Appliances split
Source | RVO, energiecijfers databank
link | https://energiecijfers.databank.nl/jive?workspace_guid=0f55ab62-f953-4173-9991-c8dae422b7a4
Tapwater vs space heating
| Tapwater | 49.2 | 15.51%
| Space heating | 268.1 | 84.49%
| Lighting | 8.8
| Other | 64.6

## Electricity
Final electricity demand | 84094.0551 | Eurostat 2019 energy balance | Link tot database | Direct link
Electricity demand Cooling | 966.465 | Eurostat 2019; Disaggregated final energy consumption in households - quantities (nrg_d_hhq) U | https://ec.europa.eu/eurostat/web/energy/data/database | https://appsso.eurostat.ec.europa.eu/nui/show.do?dataset=nrg_d_hhq&lang=en
Electricity demand Cooking | 2880 | Eurostat 2019; Disaggregated final energy consumption in households - quantities (nrg_d_hhq) U | https://ec.europa.eu/eurostat/web/energy/data/database | https://appsso.eurostat.ec.europa.eu/nui/show.do?dataset=nrg_d_hhq&lang=en
Electricity demand Lighting | 8800 | Energiecijfers | https://energiecijfers.databank.nl//jive?workspace_guid=69c47922-829b-4a2e-9079-9ebf29327929 | https://energiecijfers.databank.nl//jive?workspace_guid=69c47922-829b-4a2e-9079-9ebf29327929
Electricity demand Space Heating | 6129 | Eurostat 2019; Disaggregated final energy consumption in households - quantities (nrg_d_hhq) U | https://ec.europa.eu/eurostat/web/energy/data/database | https://appsso.eurostat.ec.europa.eu/nui/show.do?dataset=nrg_d_hhq&lang=en
Electricity demand Hot Water | 2772 | Eurostat 2019; Disaggregated final energy consumption in households - quantities (nrg_d_hhq) U | https://ec.europa.eu/eurostat/web/energy/data/database | https://appsso.eurostat.ec.europa.eu/nui/show.do?dataset=nrg_d_hhq&lang=en
Final electricity demand (ex cooling , cooking and lighting) | 62546.5901
Enenrgietrends 2016
vaatwasser | 5%
wasmachine | 5%
wasdroger | 6%
stof. + rest | 4%
koelkast | 13%
vriezer | 5%
televisie | 8%
audio/video | 4%
ict | 4%
verwarming | 8%
warmwater | 5%
ventilatie
kookapp.
keukenapp. | 4%
vrije tijd | 1%
pers. verz. | 1%
overig | 1%
verlichting |  |  | Source: | Energietrends 2016, page 9 (ECN, Energie-Nederland en Netbeheer Nederland)
totaal | 74% |  | Hyperlink: | https://refman.energytransitionmodel.com/publications/2068
The numbers from Energietrends 2016 need to be recast on the ETM categories.
Category | Original data | Corrected data | Final electricity demand
Dishwasher | 5% | 8.197% | 5126.7697
Fridges / Freezers | 18% | 29.51% | 18456.3709
Washing Machines | 5% | 8.197% | 5126.7697
Dryers | 6% | 9.836% | 6152.1236
Television | 8% | 13.11% | 8202.8315
Computers / Media | 8% | 13.11% | 8202.8315
Vacuum Cleaners | 4% | 6.557% | 4101.4157
Others | 7% | 11.48% | 7177.4776
100%
Space heating |  |  | 6129
Hot water |  |  | 2772
Lighting |  |  | 8800
Cooking |  |  | 2880
Cooling |  |  | 966.465
|  |  | 84094.0551 | TRUE
The numbers in red are used to the 'Final demand per energy carrier' sheet (use Trace Dependents to find their destination)

## Cooking
Source: | Eurostat; Disaggregated final energy consumption in households - quantities
Hyperlink: | https://appsso.eurostat.ec.europa.eu/
Technology | Share of total | Technology efficiency | Relative final demand | Share of final demand electricity | Final electricity demand for cooking (TJ) | Final demand electricity(TJ) | Final demand gas (TJ) | UD [TJ] | UD shares
Electric stoves (resistance) | 0.02 | 0.55 | 0.036364 | 0.097328 | 2880 | 280.3053 |  | 154.1679 | 3.792%
Electric halogen stoves | 0.16 | 0.6 | 0.26667 | 0.71374 |  | 2055.5725 |  | 1233.3435 | 30.34%
Electric induction stoves | 0.06 | 0.85 | 0.070588 | 0.18893 |  | 544.1221 |  | 462.5038 | 11.38%
Gas stoves |  | 0.4 | 0 |  |  |  | 5538.75 | 2215.5 | 54.49%
Last update | 03.05.21
Extracted on | 04.05.21
Source of data | Eurostat
NRG_BAL | FC_OTH_HH_E_CK - Final consumption - other sectors - households - energy use - cooking
SIEC | TOTAL - Total
UNIT | TJ - Terajoule
GEO/TIME | 2019
NL - Netherlands | 8418.75
Special value:
: | not available
NRG_BAL | FC_OTH_HH_E_CK - Final consumption - other sectors - households - energy use - cooking
SIEC | G3000 - Natural gas
UNIT | TJ - Terajoule
GEO/TIME | 2019
NL - Netherlands | 5538.75
NRG_BAL | FC_OTH_HH_E_CK - Final consumption - other sectors - households - energy use - cooking
SIEC | E7000 - Electricity
UNIT | TJ - Terajoule
GEO/TIME | 2019
NL - Netherlands | 2880
Special value:
: | not available

## Heat pumps
From ETSource
|  | Space heating | Final demand electricity and gas | water heating | Final demand electricity and gas
Hybrid heat pump | input.ambient_heat | 0.63199 | 0.35575 | 0.44444 | 0.59259
| input.electricity | 0.18057 |  | 0.22222
| input.network_gas | 0.18744 |  | 0.33333
| output.useable_heat.network_gas | 1.07 |  | 0.9
Heat pump air | input.ambient_hea | 0.77778 | 0.22222 | 0.66667 | 0.33333
| input.electricity | 0.22222 |  | 0.33333
Heat pump ground | input.ambient_heat | 0.79167 | 0.20833 | 0.66667 | 0.33333
| input.electricity | 0.20833 |  | 0.33333
| Number of heat pumps | Final demand share space heating | Final demand share water heating | Final demand electricity and gas | Final demand electricity and gas for space heating | Final demand electricity and gas for water heating | Final demand electricity for space heating | final demand gas for space heating | Final demand electricity for water heating | final demand gas for water heating
| [-] |  |  | TJ | TJ | TJ
Total heat pumps air/water | 351228 |  |  | 1898 | 1603.6993 | 294.3007
Hybrid heat pumps | 20000 | 0.088142 | 0.096939 |  | 141.3537 | 28.5292 | 69.3569 | 71.9968 | 11.4117 | 17.1175
Heat pumps air | 331228 | 0.91186 | 0.90306 |  | 1462.3456 | 265.7715 | 1462.3456 |  | 265.7715
Heat pump ground | 60885 |  |  | 539 | 455.4236 | 83.5764 | 455.4236 |  | 83.5764
Final demand share
| electricity | gas
HHP for space heating
FD share | 0.49066 | 0.50934
HHP for water heating
FD share | 0.4 | 0.6
http://statline.cbs.nl/Statweb/publication/?DM=SLNL&PA=82380NED&D1=2,5-6&D2=a&D3=1&D4=21&HDR=T&STB=G2,G1,G3&VW=T

## Heat pumps cooling
Source: | CBS
Hyperlink: | https://opendata.cbs.nl/#/CBS/nl/dataset/82379NED/table?dl=520DA
Calculations
Onttrekking van koude in 2019
Koeling uit bodemwarmtepompen totaal | 1794 | TJ
Koeling van bodemwarmtepompen huishoudens | 975.4875 | TJ
Vermogen bodemwarmtepompen huishoudens | 87 | MW
Vermogen bodemwarmtepompen overige gebouwen | 73 | MW
Number of heat pumps for heating (air) | 189423 | units | ETM nl 2019
Number of heat pumps for heating (ground) | 62925 | units | ETM nl 2019
Number of residences | 7890000 | units | ETM nl 2019
Share of residences with airco | 6% | % | KEV (2020): " in 2018 bezit slechts 6 procent van de huishoudens een airco."
Number of airco units | 473400 | units
| Airco | Heat pump (air) | Heat pump (ground) | Unit
Number of units | 473400 | 189423 | 62925 | units
Cooling capacity per unit | 10 | 10 | 10 | kW/unit | ETM currently has 3 kW/unit airco, but assumption is that all cooling units should supply the same cooling demand
Full load hours | 560 | 560 | 560 | h/y | ETM
Useful cooling demand | 2651040 | 1060768.8 | 352380 | MWh/y
Useful cooling demand | 9543.744 | 3818.7677 | 1268.568 | TJ
COP | 4 | 4.5 | 19 | - | ETM
Electricity demand | 2385.936 | 848.615 | 66.7667 | TJ
Electricity demand scaled | 698.4858 | 248.4331 | 19.546 | TJ
Assumptions
Based on diagram below.
Heat sink for cooling is where the heat should go, either the ambient air or the ground reservoir.
Heat source for cooling is where the heat should be extracted from, the house.
Assumed that COPcooling is used in the ETM (even though the ETM has not COP for cooling yet, https://github.com/quintel/etmodel/issues/1440)
Assumed that Qcold is equal to "Onttrekking koude uit bodem" and useful cooling demand.

## Housing types & insulation
Output scripts
Households - script: residence_data_grouped.ipynb
woningtype | woningvoorraad_totaal | epi | woningtype_share | woningtype_naam | energielabel
1 | 1023689 | 1.8297 | 0.1301 | Vrijstaande woning | D
2 | 696110 | 1.9383 | 0.088465 | Twee-onder-een-kapwoning | D
3 | 1018121 | 1.6412 | 0.12939 | Hoekwoning | C
4 | 2365618 | 1.6036 | 0.30064 | Tussenwoning | C
5 | 2765189 | 1.6518 | 0.35142 | Appartement | C
Buildings - script: buildings_data_grouped.ipynb
naam | waarde
mean_epi | 1.5932
energielabel | C
reductie | 0.46
Calculating heat demand reduction with average EPI as input
| Average EPI (source: BAG 2019) | [7 empty] | Values | key area-file
Apartement | 1.6518 | [5 empty] | 15.67% |  | 15.6674 | insulation_apartments_start_value
Corner | 1.6412 |  |  | 20.06% |  |  |  |  | 20.0577 | insulation_corner_houses_start_value
Detached | 1.8297 |  | 13.06% | [5 empty] | 13.0623 | insulation_detached_houses_start_value
Semi-detached | 1.9383 |  |  |  |  | 13.17% |  |  | 13.1677 | insulation_semi_detached_houses_start_value
Terraced | 1.6036 |  |  |  | 20.92% |  |  |  | 20.9179 | insulation_terraced_houses_start_value
Buildings | 1.5932 | [6 empty] | 46.18% | 46.1818 | insulation_buildings_start_value
Table: heat demand reduction vs. EPI (source: https://docs.energytransitionmodel.com/main/insulation)
label | x |  | Detached | Corner | Terraced | Semi-detached | Apartement | Buildings | Energie-Index
G |  | 0% | 0% | 0% | 0% | 0% | 0% |  | > 2.7
F | 2.55 | 7.667% | 4% | 3% | 3% | 4% | 3% |  | 2.41 - 2.7
E | 2.25 | 15.33% | 7% | 5% | 5% | 9% | 5% | 0% | 2.11 - 2.40
D | 1.95 | 23% | 11% | 13% | 13% | 13% | 8% | 31% | 1.81 - 2.1
C | 1.6 | 30.67% | 17% | 21% | 21% | 18% | 17% | 46% | 1.41 - 1.8
B | 1.3 | 38.33% | 24% | 29% | 29% | 29% | 27% | 54% | 1.21 - 1.4
A | 1 | 46% | 37% | 35% | 37% | 40% | 32% | 64% | 0.81 - 1.2
A+ | 0.7 | 53.67% | 50% | 42% | 46% | 50% | 38% | 74% | 0.61 - 0.8
A++ | 0.5 | 61.33% | 59% | 55% | 57% | 60% | 52% |  | 0.41 - 0.6
A+++ |  | 69% | 67% | 69% | 69% | 69% | 67% |  | < 0.4
Housing types
| % | # | key area-file
Totaal |  | 7891786 | number_of_residences | please fill dashboard with rounded numbers
Apartments | 0.35142 | 2773292.2794 | number_of_apartments | please fill dashboard with rounded numbers
Corner houses | 0.12939 | 1021104.5642 | number_of_corner_houses | please fill dashboard with rounded numbers
Detached houses | 0.1301 | 1026688.881 | number_of_detached_houses | please fill dashboard with rounded numbers
Semi-detached houses | 0.088465 | 698149.9234 | number_of_semi_detached_houses | please fill dashboard with rounded numbers
Terraced houses | 0.30064 | 2372550.352 | number_of_terraced_houses | please fill dashboard with rounded numbers
Average heat demand per housing type
| m3 | TJ for hot water + space heating | TJ for space heating
Apartments | 770 | 0.02437 | 0.020592
Corner houses | 1320 | 0.041778 | 0.0353
Detached houses | 2040 | 0.064566 | 0.054555
Semi-detached houses | 1540 | 0.048741 | 0.041183
Terraced houses | 1100 | 0.034815 | 0.029417
Total | 6770
natural gas TJ per m3 (LHV): | 3.165e-05
https://opendata.cbs.nl/statline/#/CBS/nl/dataset/81528NED/table?dl=55393
This page contains the following data for in the analyses. The red numbers should be copied to the analyses:
1. insulation start values for households and buildings (area_analysis)
2. number of houses per housing type (area_analysis)
3. percentage per housing type (residences_analysis)
4. average heat demand per housing type (residences_analysis)
How did we calculated this data? (Nora Schinkel & Marlieke Verweij)
- The values for insulation and housing types are calculated based on the BAG2019 data (files: residences_bag20200101.csv & services_bag20200101.csv) and energy label data from EPonline (files: v20201001_csv)
- We have used the scripts in this DB folder: Projects/Inactive/2018_projects/201809_Heat_and_regional_energy_transition/Huizenvoorraad en energielabels per regio (buildings_data_transformation.ipynb, buildings_data_grouped.ipynb, residence_data_grouped.ipynb, residence_data_transformation.ipynb)
- The output of this script can be pasted below.

## Lighting
Guess
Buildings |  | 2015 ETM | 2016 | 2017 | 2018 | 2019 | IEA | https://www.iea.org/reports/lighting
| Fluorescent tube | 91.9% | 95.65% | 91.9% | 91.9% | 90.02% |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019
| High-performance fluorescent tube | 6.5% | 1.149% | 3.986% | 2.157% | 1.518% | Sales LED | 7% | 14% | 18% | 26% | 37% | 46%
| LED-tube | 1.6% | 3.2% | 4.114% | 5.943% | 8.457% | Sales flourescent | 49% | 51% | 49% | 49% | 48% | 46%
[7 empty] | LED relative growth |  | 2 | 1.2857 | 1.4444 | 1.4231 | 1.2432
Households |  |  | 2016 | 2017 | 2018 | 2019 | Fluorescent relative growth |  | 1.0408 | 0.96078 | 1 | 0.97959 | 0.95833
| Incandescent | 49.5% | 47.5% | 46.36% | 44.07% | 40.93%
| Low-energy light bulb | 48.5% | 48.5% | 48.5% | 48.5% | 48.5%
| LED | 2% | 4% | 5.143% | 7.429% | 10.57%