## Sources
Supply, transformation and consumption of heat - annual data [nrg_106a]
Last update | 2018-06-04 09:56
Extracted on | 2018-07-11 14:05
Source of data | Eurostat
UNIT | Terajoule
PRODUCT | Derived heat
INDIC_NRG | Energy Available for Final Consumption
GEO/TIME | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016
European Union (current composition) | 2053299 | 2077877 | 2043945 | 2241699 | 2035877 | 2082693 | 2078459 | 1919527 | 1943839 | 2007878
Euro area (19 countries) | 1202537 | 1231461 | 1212353 | 1306215 | 1201978 | 1229816 | 1237759 | 1150069 | 1165505 | 1198694
Belgium | 15728 | 18539 | 22067 | 25966 | 25781 | 23393 | 23602 | 21977 | 21512 | 20858
Bulgaria | 33949 | 38665 | 38888 | 40377 | 43653 | 41269 | 37985 | 37778 | 34249 | 32753
Czech Republic | 95186 | 93364 | 86707 | 105894 | 95533 | 97364 | 97634 | 85035 | 87070 | 92891
Denmark | 98402 | 100327 | 102598 | 120593 | 105626 | 108528 | 107383 | 97556 | 103427 | 107648
Germany (until 1990 former territory of the FRG) | 427171 | 436040 | 427612 | 471767 | 420182 | 429140 | 434820 | 383096 | 401699 | 409539
Estonia | 21782 | 21315 | 20685 | 22254 | 19878 | 20540 | 19512 | 18378 | 18029 | 20323
Ireland | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Greece | 1737 | 1837 | 2050 | 1941 | 2256 | 1889 | 1738 | 2073 | 2093 | 2134
Spain | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
France | 131416 | 149248 | 142880 | 129599 | 124189 | 130741 | 131253 | 120418 | 125775 | 141046
Croatia | 9120 | 9495 | 9550 | 10277 | 9976 | 9585 | 9678 | 8081 | 8876 | 9314
Italy | 128605 | 132878 | 129544 | 139502 | 133788 | 143720 | 154995 | 156875 | 161250 | 165379
Cyprus | 0 | 0 | 4 | 5 | 31 | 31 | 42 | 45 | 51 | 50
Latvia | 23774 | 22392 | 22209 | 24072 | 20896 | 22393 | 21698 | 21139 | 21101 | 24332
Lithuania | 38521 | 36115 | 37065 | 38582 | 36388 | 37886 | 35488 | 35145 | 33427 | 34910
Luxembourg | 2553 | 2881 | 2421 | 2952 | 2996 | 2913 | 3069 | 2330 | 2148 | 2202
Hungary | 49730 | 48392 | 45603 | 45583 | 42414 | 43949 | 43607 | 37629 | 41239 | 44718
Malta | 0 | 0 | 0 | 0 | 5 | 8 | 1 | 1 | 6 | 8
Netherlands | 134072 | 132358 | 118648 | 124730 | 117940 | 111192 | 111690 | 110570 | 102828 | 88237
Austria | 56101 | 59527 | 64111 | 76366 | 73511 | 72207 | 75731 | 68001 | 71321 | 72718
Poland | 261695 | 253621 | 251963 | 274106 | 243684 | 250531 | 249274 | 228041 | 228694 | 237355
Portugal | 14132 | 13251 | 13111 | 14142 | 13985 | 14449 | 14735 | 11304 | 10201 | 8847
Romania | 75286 | 71102 | 67415 | 70375 | 69422 | 62116 | 58649 | 52229 | 51423 | 51471
Slovenia | 7124 | 7721 | 7513 | 8030 | 7976 | 7644 | 7661 | 6445 | 7085 | 7309
Slovakia | 31084 | 29888 | 32182 | 35649 | 32133 | 31943 | 31093 | 25524 | 26471 | 28032
Finland | 168737 | 167471 | 170251 | 190658 | 170043 | 179727 | 170631 | 166748 | 160508 | 172770
Sweden | 171377 | 170090 | 178359 | 215262 | 173110 | 188366 | 186566 | 174762 | 175540 | 185484
United Kingdom | 56017 | 61360 | 50509 | 53017 | 50481 | 51169 | 49924 | 48347 | 47816 | 47550
Iceland | 18640 | 19338 | 19297 | 19186 | 19170 | 20299 | 20135 | 20485 | 23757 | 31371
Norway | 10389 | 11001 | 12436 | 16099 | 14108 | 15850 | 17692 | 16907 | 18224 | 19742
Montenegro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Former Yugoslav Republic of Macedonia, the | 2609 | 2497 | 2487 | 2260 | 2381 | 2170 | 1824 | 1692 | 1929 | 1933
Albania | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Serbia | 39952 | 30424 | 30932 | 34258 | 37008 | 30540 | 30046 | 25990 | 29988 | 30550
Turkey | 43274 | 42685 | 44383 | 51330 | 50917 | 51317 | 50766 | 48410 | 41496 | 38839
Bosnia and Herzegovina | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5283 | 6171 | 5280
Kosovo (under United Nations Security Council Resolution 1244/99) | 387 | 397 | 370 | 157 | 127 | 144 | 154 | 171 | 406 | 575
Moldova | 0 | 0 | 0 | 10024 | 9696 | 9120 | 8944 | 8787 | 8470 | 8963
Ukraine | 532662 | 518399 | 475017 | 525803 | 507055 | 499953 | 487095 | 374079 | 307711 | 346485
Georgia | : | : | : | : | : | : | : | : | : | 0
Special value:
: | not available

## Power plants - overview
Power plants - overview | [16 empty] | Notes
Coloured means that it is ready state | [16 empty] | Backup; niet in gebruik : https://da.wikipedia.org/wiki/Enstedv%C3%A6rket
A. Central plants | [16 empty] | The Esbjergværket CHP plant.pdf (DONG rapport)
Power plant | Unit | Short name | Status | Notes | Commissioned (year) | Electricity capacity (MW) | Electricity overload capacity (MW) | Coal | Fuel oil | Gas oil | Natural gas | Straw | Wood chips | Wood pellets | CHP? | Type of plant (ETM) | Notes
Western Denmark (DK1)
Enstedværket | Unit 3 | ENV3 | Preserved | 40 MW biomass. | 1979 | 665 | 665 | Yes | [6 empty] | YES |  | Backup; niet in gebruik : https://da.wikipedia.org/wiki/Enstedv%C3%A6rket
Esbjergværket | Unit 3 | ESV3 | Ready state | Heat agreement expires at the end of 2019. | 1992 | 370 | 400 | Yes | Yes | [5 empty] | YES | Coal plant for district heat (CHP) | The Esbjergværket CHP plant.pdf (DONG rapport)
Fynsværket | Unit 7 | FYV7 | Ready state | Cooling water permit expires at the end of 2020. | 1991 | 380 | 410 | Yes | Yes | [5 empty] | YES | Co-firing coal plant for district heat (CHP)
Fynsværket | Unit 8 | FYV8 | Ready state |  | 2009 | 35 | 35 |  |  |  |  | Yes |  |  | YES | Co-firing coal plant for district heat (CHP) | 110 MWth | Actually woodchip chp: how shall we put this in the ETM?
Herningværket |  | HEV | Ready state |  | 1982 | 90 | 90 |  |  |  | Yes |  | Yes | Yes | YES | Co-firing coal plant for district heat (CHP) | 270 GWh electricity per year; the fuel type is wood chips and wood pellets and secondary fuel in the form of natural gas . The distribution of these fuels was around 65-28-7
Nordjyllandsværket | Unit 2 | NJV2 | Permanently out of operation |  | 1977 | 220 | 220 | Yes
Nordjyllandsværket | Unit 3 | NJV3 | Ready state |  | 1998 | 380 | 410 | Yes | Yes | [5 empty] | YES | Coal plant for district heat (CHP) | https://aalborgforsyning.dk/nordjyllandsv%C3%A6rket-as/fakta-om-kulfyring/produktion.aspx
Skærbækværket | Unit 3 | SKV3 | Ready state | 90 MW wood chips from middle of 2017. | 1997 | 390 | 430 |  |  | Yes | Yes |  |  |  | YES | Co-firing coal plant for district heat (CHP) | 308 MW wood chips power plant http://www.volund.dk/~/media/Downloads/Brochures_-_BIO/SKV40Denmark_Biomass.pdf | Actually woodchip chp: how shall we put this in the ETM?
Studstrupværket | Unit 3 | SSV3 | Ready state | Does not run simultaneously with unit 4 (conditioned ready state). | 1984 | 360 | 380 | Yes | Yes |  |  | Yes |  | Yes | YES | Co-firing coal plant for district heat (CHP) | http://www.ramboll.dk/projects/rdk/fra-kul-til-biomasse-pa-studstrupvaerket
Studstrupværket | Unit 4 | SSV4 | Conditioned ready state | 3 months start-up warning | 1985 | 360 | 380 | Yes | Yes |  |  | Yes
In total, DK1 (only ready state) |  |  | Number = 7 |  |  | 2005 | 2155
Eastern Denmark (DK2)
Amagerværket | Unit 1 | AMV1 | Ready state |  | 2009 | 70 | 70 | Yes | Yes |  |  |  |  | Yes | YES | Co-firing coal plant for district heat (CHP) | https://www.hofor.dk/baeredygtige-byer/amagervaerket/baeredygtig-omstilling-paa-amagervaerket/ ; Today, Amagerværket production is based on approximately 2/3 coal and 1/3 wood pellets, but will be fully converted to biomass by 2020.
Amagerværket | Unit 3 | AMV3 | Ready state |  | 1989 | 250 | 265 | Yes | Yes | [5 empty] | YES | Co-firing coal plant for district heat (CHP)
Asnæsværket | Unit 2 | ASV2 | Ready state | Heat agreement expires at the end of 2017. Does not run simultaneously with ASV5 (Conditioned ready state). | 1961 | 140 | 140 | Yes | Yes | [5 empty] | YES | Co-firing coal plant for district heat (CHP) | Industrial symbiosis (also oil from Statoil Refinery)
Asnæsværket | Unit 4 | ASV4 | Preserved |  | 1968 | 270 | 270 | Yes | [6 empty] | YES |  | Industrial symbiosis (also oil from Statoil Refinery)
Asnæsværket | Unit 5 | ASV5 | Conditioned ready state | 8 weeks start-up warning. Backup for ASV2. | 1981 | 640 | 665 | Yes | Yes | [5 empty] | YES |  | Industrial symbiosis (also oil from Statoil Refinery)
Avedøreværket | Unit 1 | AVV1 | Ready state |  | 1990 | 255 | 265 | Yes | Yes |  |  |  |  | Yes | YES | Co-firing coal plant for district heat (CHP) | http://fjernvarmeindustrien.dk/portfolio-items/biomasseanlaeg-pa-avedorevaerket/
Avedøreværket | Unit 2 | AVV2 | Ready state |  | 2002 | 545 | 545 |  | Yes |  | Yes | Yes |  | Yes | YES | Gas plant for district heat (CHP)
H.C. Ørstedsværket | Sektion 2 (Unit 1-4) | HCV1-4 | Preserved | Converted in 1994. | 1954 | 10 | 10 |  |  |  | Yes
H.C. Ørstedsværket | Unit 7 | HCV7 | Ready state |  | 1985 | 75 | 75 |  |  |  | Yes |  |  |  | YES | Gas plant for district heat (CHP)
H.C. Ørstedsværket | Unit 8 | HCV8 | Ready state |  | 2004 | 25 | 25 |  |  |  | Yes |  |  |  | YES | Gas plant for district heat (CHP)
Kyndbyværket | Unit 21 | KYV21 | Conditioned ready state | 6 weeks start-up warning. | 1974 | 260 | 260 |  |  | Yes
Stigsnæsværket | Unit 1 | STV1 | Preserved |  | 1966 | 143 | 143 | Yes
Stigsnæsværket | Unit 2 | STV2 | Preserved |  | 1970 | 264 | 264 | Yes | Yes
Svanemølleværket | Unit 1-3 | SMV1-3 | Preserved | Renovated in 2007/2008. | 1953 | 10 | 10 |  |  | Yes | Yes
Svanemølleværket | Unit 7 | SMV7 | Preserved |  | 1995 | 60 | 60 |  |  | Yes | Yes
Østkraft | Unit 6 | ØKR6 | Ready state | Can also fire with 100 pc wood chips (15 MW electricity) from 2016. Is also an ancillary plant. | 1995 | 37 | 37 | Yes | Yes |  |  |  | Yes |  | YES | Co-firing coal plant for district heat (CHP)
In total, DK2 (only ready state) |  |  | Number = 8 |  |  | 1397 | 1422
In total, Denmark (only ready state) |  |  | Number = 15 |  |  | 3402 | 3577
All data logged at the beginning of the year. Source: Energinet's knowledge of projects in the pipeline and own calculations.
B. Central ancillary plants
Power plant | Unit | Short name | Status | Notes | Commissioned (year) | Electricity capacity (MW) | Electricity overload capacity (MW) | Coal | Fuel oil | Gas oil | Natural gas | Straw | Wood chips | Wood pellets
Western Denmark (DK1)
Studstrupværket | Unit 5 | SSV5 | Ready state |  | 1986 | 15 | 15 |  |  | Yes
In total, DK1 (only ready state) |  |  | Number = 1 |  |  | 15 | 15
Eastern Denmark (DK2)
Kyndbyværket | Unit 22 | KYV22 | Ready state |  | 1976 | 260 | 260 |  |  | Yes
Kyndbyværket | Unit 41 | KYV41 | Ready state |  | 1973 | 20 | 20 |  |  | Yes
Kyndbyværket | Unit 51 | KYV51 | Ready state |  | 1973 | 65 | 65 |  |  | Yes
Kyndbyværket | Unit 52 | KYV52 | Ready state |  | 1973 | 65 | 65 |  |  | Yes
Masnedøværket | Unit 31 | MAV31 | Ready state |  | 1975 | 70 | 70 |  |  | Yes
Østkraft | Diesel plant | ØKR1-4 | Ready state |  | 1972 | 19.6 | 19.6 |  |  | Yes
Østkraft | Unit 5 | ØKR5 | Ready state |  | 1974 | 27.5 | 27.5 |  | Yes
Østkraft | Unit 7 | ØKR7 | Ready state |  | 1974 | 15 | 15 |  |  | Yes
In total, DK2 (only ready state) |  |  | Number = 8 |  |  | 542.1 | 542.1
In total, Denmark (only ready state) | [5 empty] | 557.1 | 557.1
All data logged at the beginning of the year. Source: Energinet
C. District heating, industrial and local plants incl. regulating power
Power plant | Unit | Short name | Status | Notes | Commissioned (year) | Electricity capacity (MW) | Electricity overload capacity (MW) | Coal | Fuel oil | Gas oil | Natural gas | Straw | Wood chips | Wood pellets
Western Denmark (DK1) | [5 empty] | 1847.823 | 1847.823
Eastern Denmark (DK2) | [5 empty] | 675.6487 | 675.6487
In total, Denmark | [5 empty] | 2523.4717 | 2523.4717
All data logged at the beginning of the year. Source: Energinet Masterdata, 1 January 2017
Information:
The information on this sheet is from Energinet Analysis Assumptions 2017. For our analysis we mis the back ground information about the types of 'C. District heating, industrial and local plants incl. regulating power ' . Only the CHPs are selected in this analysis.

## Main activity CHP
Analysis technology production shares for main activity chps
Source: | 2017_Energinet_Analysis_Assumptions_2017.xlsx
Method: | Researched all electricity plants in Denmark
Calculated technology share in Industry and Energy Industry on capacity basis, since we assume all CHP techologies in Industry have the same FLH (see CHP analysis)
Included steam turbines in CCGT total, as this CHP technology is not available in ETM for gas-fired industrial CHPs
Assumption: | All gas-fired CHPs in Industry have same FLH (seee chp_analysis itself)
Purpose: | To calculate one of the few inputs that need to be set in the CHP analysis: technology production shares for gas-fired CHPs.
Sector | Unit type | Total installed electrical capacity (MW)
Main activity
| Coal plant for district heat (CHP) | 750
| Co-firing coal plant for district heat (CHP) | 2007
| Gas plant for district heat (CHP) | 645
| TOTAL | 3402
Results overview by converter
Sector | Unit type | Electricity production (TJ) | Total fuel input (TJ) | Fuel input for electricity and sold heat (TJ) | Fuel input for unsold heat (TJ) | Total heat production (TJ) | Sold heat production (TJ) | Unsold heat production (TJ) | Full load hours (hrs/yr) | Installed electrical capacity (MW) | Installed heat capacity (MW)
Agriculture | [11 empty] | Split unknown!!
| Gas CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3600 | 0 | 0
| Biogas CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8000 | 0 | 0
| Wood pellets CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6000 | 0 | 0
| All units | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Households
| Gas CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4000 | 0 | 0
| Biogas CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8000 | 0 | 0
| Wood pellets CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6000 | 0 | 0
| All units | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Services
| Gas CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4000 | 0 | 0
| Biogas CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8000 | 0 | 0
| Wood pellets CHP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6000 | 0 | 0
| All units | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
Energy industry
Gas turbine CHP
Gas engine CHP
Gas CC CHP
Coal CHP
All units
Industry
Gas turbine CHP
Gas engine CHP
Gas CC CHP
Coal CHP
All units
Industry & Energy industry
| Gas turbine CHP | [7 empty] | 6000
| Gas engine CHP | [7 empty] | 6000
| Gas CC CHP | [7 empty] | 6000
| Coal CHP | [7 empty] | 7000
All units
Main activity
| Gas CC CHP | [7 empty] | 4500 | 645
| Coal CHP | [7 empty] | 4000 | 750
| Lignite CHP | [7 empty] | 7000
| Co-firing CHP | [7 empty] | 4500 | 2007
| All units | [8 empty] | 3402
Waste incineration
| Waste CHP | [7 empty] | 6000