## Cover Sheet
Cover Sheet
Document | Residence analysis nl 2019
Version # | 2.24
Country | nl
Year data | 2019
Date | November 23, 2023
Author | Mathijs Bijkerk
Organization | Quintel
Legend
Cells | Intermediate (calculation)
Result
Manual input
Reference to manual input or data input
Sheets | Introductory
Research data
Sources
Dashboard
Results
Main calculations
Additional calculations
CSV-files
Comments
This analysis has a different way of aggregating fuels via an indirect HLOOKUP to the energy balance. This is an experiment and should not be imitated by other analyses.

## Changelog
Changelog
Date | Changes | Version
2013-07-19 | Created this document | 1
2013-07-29 | Inserted latest EB, fixed solar pv value (SD) | 1
2013-07-30 | Removing solar_PV calculation, they are moved to centra production table | 1.01
Added links and justification for national vs final gas demand
2013-07-31 | Added Share of demand allocated to final demand in residencesto calculation of Technology split final demand
CSV files: Added 'key' and 'share' in new new line.
2013-08-04 | Added two redundant sheets for automatically generating edges and noes | 2
improved the Dashboard layout
Improved the layout of calculations
Deleted many names
2013-08-05 | Changed Dataflow layout | 2.01
2013-08-06 | general adaptations of good practice | 2.02
2013-08-08 | Added child shares for the converters that recreive energy from solar thermal and electric add on converters | 2.02
2013-08-09 | Added parent_share that fixes problem in the graph https://github.com/quintel/refinery/issues/37 | 2.03
2013-08-14 | Renamed energy balance | 2.04
2013-08-19 | Corrected cell links in Applications Shares | 2.05
2013-08-21 | updating dashboard button | -
2013-08-21 | Update "Contents", minor layout changes in various sheets, link average usefull demand in "Houses shares" to "Dashboard" (WT) | 2.06
2013-08-26 | Changed the way that the useful demand in heating/cooling share is calculated, regarding the old/new houses split | 2.07
2013-09-17 | removed technical specs | 2.08
2013-09-18 | made Average R-value of a typical old/new residences a fixed dashboard input (it is an assumption) | 2.09
2013-09-18 | cleaned up fuel aggregation sheet and tech_specs sheet | 2.1
2013-10-14 | removing Charcoal from analysis | 2.11
2013-10-15 | removing sheets with edges and nodes | 2.12
2013-10-31 | reworking checks and layout on dashboard | 2.13
2013-12-10 | improved text of intro sheet | 2.14
May 23, 2014 | Increased robustness of technology share calculation if the energy input of a whole share group is zero. An IF statement is used to avoid #DIV/0! errors | 2.15
May 29, 2014 | Increased robustness of aplication share calculation if the energy input of a whole share group is zero. An IF statement is used to avoid #DIV/0! errors | 2.16
June 3, 2014 | Correct misstake in application share calculation for district heat | 2.17
December 4, 2015 | Added hybrid heatpump to this analysis (results exported in heating_network_gas, heating_electricity, water_network_gas and water_electricity csv's), deleted heatpump_add_on csv | 2.18
November 5, 2018 | Extended housing stock division. Before it was old/new, now the housing stock can be divided in five housing types. Removed solar thermal for space heating, removed micro CHP, fuel cell for space heating and hot water | 2.19
November 5, 2018 | Set average heat demand per house type. This determines the UD space heating split to different housing types. | 2.2
July 6, 2021 | HHP fix by Marlieke Verweij. We had troubles with the formerly fixed input shares in HHPs. Therefore, we have made these input shares for HHPs dynamic: they can now be set per dataset. For this change, I have added hard-coded input shares for HHPs to 'technical_specs' tab, sbecause this analysis needs the input shares as input. For NL2015 and other country datasets these hard -coded shares have been used. I have also added two new csv-files where the input shares are calculated for HHPs in households. | 2.21
November 23, 2023 | Removed solar thermal child share for hot water in households. | 2.22
November 23, 2023 | Reduced housing stock type categories from five to four by including corner houses in semi-detached houses and expanded housing stock division by adding period of construction. | 2.23
November 23, 2023 | Changed data initialisation of space heating for households from insulation inputs to share in useful demand per housing type and construction period. | 2.24

## Contents
Contents
Tab | Description
Cover Sheet | Information about this document and a legend to tab and cell formatting
Changelog | A documentation of the changes to this analysis
To Do | A list of suggested improvements
Contents | An index with description of all the tabs in this analysis
Introduction | A short introduction to the Energytransition model (ETM) and the Residence Analysis
Dataflow | A visualization of the dataflow in this analysis
Assumptions | A description of the modeling and country-specific assumptions for this analysis
Corrected energy balance step 2 | Here the corrected energy balance created in the CHP analysis should be pasted for your country and year
Technological specifications | The technological specifications of energy conversion technologies used in the ETM are listed here
Dashboard | On the dashboard, the country-specific assumptions can be changed manually. It also shows the most important checks
Application Shares | Input data' is generated. The shares that break down the final demand of a carrier per application are defined.
Technology Shares | Input data' is generated. The shares that break down the final demand of a carrier per technology are defined.
Houses Shares | Input data' is generated. It is determined, how much useful heat (cold) is used in old and new houses.
Final demand per energy carrier | The final demands per energy carrier for all energy applications are calculated here. The final demands per carrier (derived from Dashboard input) are compared with IEA data. A feedback is given to the Dashboard tab.
Technology split final demand | The assumptions made on the dashboard are calculated towards final demand here using the efficiencies defined in the tab 'Technological specifications'.
Electricity producer Shares | Input data' is generated. It is determined, how much CHP gas use is allocated to residential final demand and national demand.
Fuel aggregation | Here the carriers in the IEA energy balance for residences are combined into the fuels used in the ETM.
Useful-final demand percentage | In this tab the final demands that were directly calculated from the energy balance are calculated towards useful demand to be able to display them on the dahboard.
csv_final_demand_coal | A CSV-file with a converter output share (parent_share)
csv_final_demand_crude_oil | A CSV-file with a converter output share (parent_share)
csv_final_demand_network_gas | A CSV-file with a converter output share (parent_share)
csv_final_demand_wood_pellets | A CSV-file with a converter output share (parent_share)
csv_final_demand_electricity | A CSV-file with a converter output share (parent_share)
csv_final_demand_steam | A CSV-file with a converter output share (parent_share)
csv_cooling_electricity | A CSV-file with a converter output share (parent_share)
csv_heating_network_gas | A CSV-file with a converter output share (parent_share)
csv_heating_electricity | A CSV-file with a converter output share (parent_share)
csv_heating_heat_pump | A CSV-file with a converter output share (parent_share)
csv_water_network_gas | A CSV-file with a converter output share (parent_share)
csv_water_electricity | A CSV-file with a converter output share (parent_share)
csv_cooking_electricity | A CSV-file with a converter output share (parent_share)
csv_lighting_electricity | A CSV-file with a converter output share (parent_share)
csv_appliances_electricity | A CSV-file with a converter output share (parent_share)
csv_export_to_area_analysis
csv_heating_hhp_efficiencies
csv_hot_water_hhp_efficiencies

## Introduction
Introduction
This analysis
The main goal of this analysis is to provide a breakdown of the residential energy consumption. Energy is consumed in the applications space heating, hot water, space cooling, lighting, cooking and electric applications. Furthermore, the energy use within these applications is split over certain technologies (for example: coal, gas and oil heaters in space heating). Note that Solar PV production is not covered by this analysis as that results from the Energy Balance and the Autoproduction table (both available from IEA). To see what solar PV production is for your dataset, open the "2_power_and_heat_plant_analysis", import all the required data (including the Energy Balance and Autoproducer table, which both need to be bought from IEA), and proceed to 'Results by machine' or the 'PV solar' sheets.
Steps to perform this analysis
1. Import the corrected energy balance using the import button on the Dashboard sheet.
2. Look over all the assumptions and checks on the Assumptions sheet and the Dashboard sheet. Consult the documentation for additional information.
3. Fill in the assumptions on the Dashboard sheet using reliable sources and/or use the source analysis mentioned in the comments. Please document your sources.
4. Keep in mind the checks on the Dashboard. If a check fails, try to understand what goes wrong and adjust your assumptions as long as you feel it is still realistic.
5. If you encounter other problems please contact Quintel Intelligence.
6. Export the csv files using the export button on the Dashboard sheet.
The Energytransition model
In short, the Energy Transition Model (ETM) is a calculation engine with a front-end interface that is free to be used by private, commercial and public users. The engine exists of a collection of 'converters' that are linked together to approach the structure of an energy system at the country level. It includes for example import, export, electricity and heat production, final demand sectors and useful demand applications. Every converter has technical and economical specifications that were determined from scientific and technical literature. The model's initial configuration is mostly based on 2010 statistical data. Useful demand of energy applications is gathered from other sources. By moving sliders in a front end dashboard, representing energy use, energy production or socio-economical parameters, the calculation engine determines the results from these actions in a future scenario and communicates them to the user.

## Dataflow
Dataflow Household Analysis
Notes
A visualization of the dataflow in this analysis
| Analysis inputs | Analysis calculations | Analysis ouputs
Results
Calculations
Assumptions
Sources
Research data
Corrected energy balance step 2
ETM Input Data
Final demand for Space Heating, Space Cooling, Lighting and Hot Water
Technology Shares of final demand
Technology split of useful demand
Application shares of final demand
  csv_cooling_electricity
  csv_heating_network_gas
  csv_heating_electricity
  csv_heating_heat_pump
  csv_water_network_gas
  csv_water_electricity
  csv_cooking_electricity
  csv_lighting_electricity
  csv_appliances_electricity
  csv_solar_thermal_heater
  csv_heating_micro_chp_gas
  csv_water_mirco_chp_gas
  csv_water_fuel_cell_gas`
  csv_final_demand_coal
  csv_final_demand_crude_oil
  csv_final_demand_network_gas
  csv_final_demand_wood_pellets
  csv_final_demand_electricity
  csv_final_demand_steam
Technological specifications
Resdicene Source analysis
Fuel Aggregation
Technology split final demand
Share of natural gas allocated to final demand in residences
Final energy demand per technology
Characteristics of new/old houses
Useful demand shares for new/old houses
  csv_cooling_old-new
  csv_heating_old-new
  csv_cooling_insulation_old
  csv_cooling_insulation_new
  csv_heating_insulation_new
  csv_heating_insulation_old
Dashboard
Checks

## Assumptions
Assumptions
Notes
On this page, a description of the assumptions for this analysis is given. There are two types of assumptions, Modeling assumptions and Country specific assumptions. The modeling assumptions form the structure or framework to be able to do this analysis. They are the same for every country. The country specific assumptions must be entered by the researcher on the Dashboard page and are used to correctly adjust the calculations to the specific country. The fuels table gives an overview of how the ETM fuel carriers correspond with the IEA fuel carriers.
Modeling assumptions
Type | Assumption | Source
General
There are six main energy use groups in the built environment: space heating, hot water, space cooling cooking, lighting and electrical appliances.
The technological specifications of these technologies are the same for all countries.
Energy can only be converted by the technologies mentioned in the Dashboard
| In the residential sector the only source of auto-produced electricity is solar PV. | estimate
The ETM graph contains a number of converters that are used to model future energy saving effects of improved insulation. The inluence of these converters is set to 'zero' in the 'present' scenario:
| households_old_houses_cooling_savings_from_insulation | results form ETM modelling logic
| households_new_houses_cooling_savings_from_insulation | results form ETM modelling logic
| households_new_houses_heating_savings_from_insulation | results form ETM modelling logic
| households_old_houses_heating_savings_from_insulation | results form ETM modelling logic
The usefule demand for space heating and space cooling is split over new and old residences. This ratio of old and new residences can be set in the dashbord. However, the insulation level of old and new residences cannot be changed by the user. It is fixed input on the "Technology specifications" tab. The current implementation therefore sets the same useful demand share for cooling and space heating.
| The 'average R-value of a typical old/new residence' is hard-coded in the Dashboard. | Source analsysis by Quintel, Chael Kruip
| There is a converter in the graph that is currently not being used at all: | results form ETM modelling logic
households_useful_demand_for_hot_water_for_houses_with_add_on
In consequence, the are two parent shares that need to be hard-coded to 0.0
- residences_useful_demand_for_hot_water_after_solar_heater_and_add_on_parent_share
- residences_space_heater_heatpump_add_on_electricity_parent_share
Country specific assumptions
Type | Assumption | Proposed source
Final demand in Residences
| Final energy demand used for Space Heating | -
| Final energy demand used for Hot Water | -
| Final energy demand used for Space Cooling | -
| Final energy demand used for Lighting | -
| Final energy demand used for Cooking | -
| Final energy demand used for Electrical Appliances | -
Space Heating
| Percentage of heat delivered by Condensing Combi Boiler | -
| Percentage of heat delivered by solar thermal panels | -
| Percentage of heat delivered by gas-fired Heat Pump (ground) | -
| Percentage of heat delivered by gas-fired micro CHP | -
| Percentage of heat delivered by District Heating | -
| Percentage of heat delivered by electricity-driven Heat pump (air) | -
| Percentage of heat delivered by woodpellets (biomass) heaters | -
| Percentage of heat delivered by Electric Heaters (resistance) | -
| Percentage of heat delivered by Gas-fired Heaters | -
| Percentage of heat delivered by Oil-fired Heaters | -
| Percentage of heat delivered by Coal-fired Heaters | -
| Percentage of heat delivered by electric heat pump add-on | -
Space Cooling
| Percentage of hot water delivered by Condensing Combi Boiler | -
| Percentage of hot water delivered by solar thermal panels | -
| Percentage of hot water delivered by gas-fired hot water Pump (ground) | -
| Percentage of hot water delivered by gas-fired micro CHP | -
| Percentage of hot water delivered by District heating | -
| Percentage of hot water delivered electricity-driven heat pump (air) | -
| Percentage of hot water delivered by woodpellets (biomass) stoves | -
| Percentage of hot water delivered by Electric heaters (resistance) | -
| Percentage of hot water delivered by Gas-fired heaters | -
| Percentage of hot water delivered by Oil-fired heaters | -
| Percentage of hot water delivered by Coal-fired heaters | -
| Percentage of hot water delivered by Fuel Cells | -
Lighting
| Percentage of light delivered by incandescent lamps | -
| Percentage of light delivered by low energy light bulbs (efficiient fluorescent lighting) | -
| Percentage of light delivered by LED lamps | -
Space Cooling
| Percentage of cold delivered by heat pumps (ground) | -
| Percentage of cold delivered by heat pumps (air) | -
| Percentage of cold delivered by airconditioning | -
Solar Panels
| Roof area available for solar panels | -
Cooking
| Percentage of cooking heat delivered by gas stoves | -
| Percentage of cooking heat delivered by electric stoves (resistance) | -
| Percentage of cooking heat delivered by electric halogen stoves | -
| Percentage of cooking heat delivered by electric induction stoves | -
| Percentage of cooking heat delivered by biomass stoves | -
Electrical Appliances
| Percentage of electricity in appliances in appliances used in Dishwashers | -
| Percentage of electricity in appliances used in Fridges / Freezers | -
| Percentage of electricity in appliances used in Washing Machines | -
| Percentage of electricity in appliances used in Dryers | -
| Percentage of electricity in appliances used in appliances used by Television | -
| Percentage of electricity in appliances used in appliances used by Computers / Media | -
| Percentage of electricity in appliances used in appliances used by Vacuum Cleaners | -
| Percentage of electricity in appliances used in appliances used by others | -
Heater characterization (solar thermal, el. add-on)
Useful heat in space heating coming from solar thermal panel (if a household is equipped)
Useful heat in hot water preparation coming from electric heater add onl (if a household is equipped)
Useful heat in space heating coming from electric heater add onl (if a household is equipped)
Old / New Houses Split
| Percent of new houses (built before 1995) | -
| Percent of old houses (built after 1995) | -
| Average useful heating demand old houses | -
| Average useful heating demand new houses | -
| Average useful cooling demand old houses | -
| Average useful cooling demand new houses | -
Fuels
CaPS carriers | IEA carriers
Coal | Hard coal (if no detail)
Brown coal (if no detail)
Anthracite
Coking coal
Other bituminous coal
Sub-bituminous coal
Peat
Lignite
Patent fuel
Coke oven coke
Gas coke
Coal tar
BKB/peat briquettes
Network gas | Natural gas
Biogases
Oil | Crude/NGL/feedstocks (if no detail)
Crude oil
Natural gas liquids
Refinery feedstocks
Additives/blending components
Other hydrocarbons
Refinery gas
Ethane
Liquefied petroleum gases (LPG)
Motor gasoline
Aviation gasoline
Gasoline type jet fuel
Kerosene type jet fuel
Other Kerosene
Gas/diesel oil
Fuel oil
Naphtha
White spirit & SBP
Lubricants
Bitumen
Paraffin waxes
Petroleum coke
Non-specified oil products
Wood pellets | Primary solid biofuels
Non-specified primary biofuels and waste
Solar Thermal | Solar Thermal
Heat | Heat
Electricity | Electricity
Not used in ETM | Charcoal

## Dashboard
Dashboard |  |  |  |  | Automatically import/export analysis data
Notes
On this sheet you can fill the country specific assumptions for your country. Please mind the checks, if one or more become red it means that with the information you provided we cannot run the Energy Transition Model. Concerning your assumptions please provide sources.
Assumptions | [5 empty] | Checks
Sector | Assumption | Unit | Value | Name | Source | Check | Status | Notes | Key | Critical check
General | [5 empty] | All critical checks are positive | FALSE
| Country |  | eu | country |  |  |  |  | country
| The base year for this analysis |  | 2011 | base_year |  | All assumptions are filled | FALSE |  | base_year | 0
Final demand
| Final energy demand of Residences (from energy balance) | TJ | 0 |  | Taken from the energy balance | Relative error in fuel consumption (energy balance value and value computed from dashboard input):
| Final energy demand for |  |  |  |  | Network gas | #DIV/0! | #DIV/0!
| Space Heating | TJ |  | Final_demand_space_heating |  | Electricity | #DIV/0! | #DIV/0! | residences_final_demand_space_heating
| Hot Water | TJ |  | Final_demand_hot_water |  | Solar thermal | 0% | No longer relevant | residences_final_demand_hot_water
| Space Cooling | TJ |  | Final_demand_cooling |  | Coal | #DIV/0! | #DIV/0! | residences_final_demand_cooling
| Lighting | TJ |  | Final_demand_lighting |  | Oil | #DIV/0! | #DIV/0! | residences_final_demand_lighting
| Cooking | TJ |  | Final_demand_cooking |  | Woodpellets | #DIV/0! | #DIV/0! | residences_final_demand_cooking
| Electrical Appliances | TJ |  | Final_demand_appliances |  | District heat | #DIV/0! | #DIV/0! | residences_final_demand_appliances
| Remaining final energy, not accounted for in the calculation of shares. | TJ | 0 |  |  | Remaining final energy is less than 5% of total final energy use. | #DIV/0! | #DIV/0!
Space Heating | [5 empty] | Percentages add up to 100% | 0% | Please adjust the percentages on the left. You might find it usefule to temporarily define one share as '1-sum( all others )' |  | 0
Percentage of useful heat in space heating delivered by
| Condensing Combi Boiler | [7 empty] | residences_percentage_space_heating_combi_boiiler
| Electric Heat Pump (ground) | [7 empty] | residences_percentage_space_heating_heat_pump_ground
| District Heating | [7 empty] | residences_percentage_space_heating_district
| electricity-driven Heat pump (air) | [7 empty] | residences_percentage_space_heating_heat_pump_air
| woodpellets (biomass) heaters | [7 empty] | residences_percentage_space_heating_woodpellets
| Electric Heaters (resistance) | [7 empty] | residences_percentage_space_heating_electric_resistance
| Gas-fired Heaters | [7 empty] | residences_percentage_space_heating_gas_burner
| Oil-fired Heaters | [7 empty] | residences_percentage_space_heating_oil_burner
| Coal-fired Heaters | [7 empty] | residences_percentage_space_heating_coal_burner
| Hybrid heatpump | [7 empty] | residences_percentage_space_heating_hybrid_heatpump
Hot Water | [5 empty] | Percentages add up to 100% | 0% | Please adjust the percentages on the left. You might find it usefule to temporarily define one share as '1-sum( all others )' |  | 0
Percentage of hot water (useful heat) delivered by
| Condensing Combi Boiler | [7 empty] | residences_percentage_hot_water_combi_boiiler
| Electric Heat Pump (ground) | [7 empty] | residences_percentage_hot_water_heat_pump_ground
| District heating | [7 empty] | residences_percentage_hot_water_district
| electricity-driven heat pump (air) | [7 empty] | residences_percentage_hot_water_heat_pump_air
| woodpellets (biomass) stoves | [7 empty] | residences_percentage_hot_water_woodpellets
| Electric heaters (resistance) | [7 empty] | residences_percentage_hot_water_electric_resistance
| Gas-fired heaters | [7 empty] | residences_percentage_hot_water_gas_burner
| Oil-fired heaters | [7 empty] | residences_percentage_hot_water_oil_burner
| Coal-fired heaters | [7 empty] | residences_percentage_hot_water_coal_burner
| Hybrid heatpump | [7 empty] | residences_percentage_hot_water_hybrid_heatpump
0
Space Cooling | [5 empty] | Percentages add up to 100% | 0% | Please adjust the percentages on the left.
Percentage of useful cooling energy delivered by
| heat pumps (ground) | [7 empty] | residences_percentage_cooling_heat_pump_ground
| heat pumps (air) | [7 empty] | residences_percentage_cooling_heat_pump_air
| airconditioning | [7 empty] | residences_percentage_cooling_aircondition
0
Lighting | [5 empty] | Percentages add up to 100% | 0% | Please adjust the percentages on the left.
Percentage of light (useful energy) delivered by
| incandescent lamps | [7 empty] | residences_percentage_lighting_incandescent
| low energy light bulbs (efficiient fluorescent lighting) | [7 empty] | residences_percentage_lighting_efficient_fluorescent
| LED lamps | [7 empty] | residences_percentage_lighting_led
0
Cooking | [5 empty] | Percentages add up to 100% | 0% | Please adjust the percentages on the left.
Percentage of useful heat in cooking produced by
| gas stoves | [7 empty] | residences_percentage_cooking_gas
| electric stoves (resistance) | [7 empty] | residences_percentage_cooking_electric_resistance
| electric halogen stoves | [7 empty] | residences_percentage_cooking_electric_halogen
| electric induction stoves | [7 empty] | residences_percentage_cooking_electric_induction
| biomass stoves | [7 empty] | residences_percentage_cooking_biomass
0
Appliances | [5 empty] | Percentages add up to 100% | 0% | Please adjust the percentages on the left.
Percentage of final electricity demand in appliances used in
| Percentage of electricity in appliances used in Dishwashers | [7 empty] | residences_percentage_appliances_dishwasher
| Percentage of electricity in appliances used in Fridges / Freezers | [7 empty] | residences_percentage_appliances_fridge_freezer
| Percentage of electricity in appliances used in Washing Machines | [7 empty] | residences_percentage_appliances_washing_machine
| Percentage of electricity in appliances used in Dryers | [7 empty] | residences_percentage_appliances_dryer
| Percentage of electricity in appliances used in appliances used by Television | [7 empty] | residences_percentage_appliances_television
| Percentage of electricity in appliances used in appliances used by Computers / Media | [7 empty] | residences_percentage_appliances_computer_media
| Percentage of electricity in appliances used in appliances used by Vacuum Cleaners | [7 empty] | residences_percentage_appliances_vacuum_cleaner
| Percentage of electricity in appliances used in appliances used by others | [7 empty] | residences_percentage_appliances_others
1
Housing stock | [6 empty] | TRUE
| Number of residences | # | [6 empty] | residences_number_of_residences
Number of residences per housing type and construction period
| Apartments built before 1945 | # | [6 empty] | residences_number_of_apartments_before_1945
| Apartments built from 1945 to 1964 | # | [6 empty] | residences_number_of_apartments_1945_1964
| Apartments built from 1965 to 1984 | # | [6 empty] | residences_number_of_apartments_1965_1984
| Apartments built from 1985 to 2004 | # | [6 empty] | residences_number_of_apartments_1985_2004
| Apartments built from 2005 to present | # | [6 empty] | residences_number_of_apartments_2005_present
| Detached houses built before 1945 | # | [6 empty] | residences_number_of_detached_houses_before_1945
| Detached houses built from 1945 to 1964 | # | [6 empty] | residences_number_of_detached_houses_1945_1964
| Detached houses built from 1965 to 1984 | # | [6 empty] | residences_number_of_detached_houses_1965_1984
| Detached houses built from 1985 to 2004 | # | [6 empty] | residences_number_of_detached_houses_1985_2004
| Detached houses built from 2005 to present | # | [6 empty] | residences_number_of_detached_houses_2005_present
| Semi-detached houses built before 1945 | # | [6 empty] | residences_number_of_semi_detached_houses_before_1945
| Semi-detached houses built from 1945 to 1964 | # | [6 empty] | residences_number_of_semi_detached_houses_1945_1964
| Semi-detached houses built from 1965 to 1984 | # | [6 empty] | residences_number_of_semi_detached_houses_1965_1984
| Semi-detached houses built from 1985 to 2004 | # | [6 empty] | residences_number_of_semi_detached_houses_1985_2004
| Semi-detached houses built from 2005 to present | # | [6 empty] | residences_number_of_semi_detached_houses_2005_present
| Terraced houses built before 1945 | # | [6 empty] | residences_number_of_terraced_houses_before_1945
| Terraced houses built from 1945 to 1964 | # | [6 empty] | residences_number_of_terraced_houses_1945_1964
| Terraced houses built from 1965 to 1984 | # | [6 empty] | residences_number_of_terraced_houses_1965_1984
| Terraced houses built from 1985 to 2004 | # | [6 empty] | residences_number_of_terraced_houses_1985_2004
| Terraced houses built from 2005 to present | # | [6 empty] | residences_number_of_terraced_houses_2005_present
0
Housing spacing heating | [5 empty] | Percentages add up to 100% | 0% | Please adjust the percentages on the left.
Share in useful demand for space heating per housing type and construction period
| Apartments built before 1945 | % | [6 empty] | residences_share_of_apartments_before_1945_in_useful_demand_for_space_heating
| Apartments built from 1945 to 1964 | % | [6 empty] | residences_share_of_apartments_1945_1964_in_useful_demand_for_space_heating
| Apartments built from 1965 to 1984 | % | [6 empty] | residences_share_of_apartments_1965_1984_in_useful_demand_for_space_heating
| Apartments built from 1985 to 2004 | % | [6 empty] | residences_share_of_apartments_1985_2004_in_useful_demand_for_space_heating
| Apartments built from 2005 to present | % | [6 empty] | residences_share_of_apartments_2005_present_in_useful_demand_for_space_heating
| Detached houses built before 1945 | % | [6 empty] | residences_share_of_detached_houses_before_1945_in_useful_demand_for_space_heating
| Detached houses built from 1945 to 1964 | % | [6 empty] | residences_share_of_detached_houses_1945_1964_in_useful_demand_for_space_heating
| Detached houses built from 1965 to 1984 | % | [6 empty] | residences_share_of_detached_houses_1965_1984_in_useful_demand_for_space_heating
| Detached houses built from 1985 to 2004 | % | [6 empty] | residences_share_of_detached_houses_1985_2004_in_useful_demand_for_space_heating
| Detached houses built from 2005 to present | % | [6 empty] | residences_share_of_detached_houses_2005_present_in_useful_demand_for_space_heating
| Semi-detached houses built before 1945 | % | [6 empty] | residences_share_of_semi_detached_houses_before_1945_in_useful_demand_for_space_heating
| Semi-detached houses built from 1945 to 1964 | % | [6 empty] | residences_share_of_semi_detached_houses_1945_1964_in_useful_demand_for_space_heating
| Semi-detached houses built from 1965 to 1984 | % | [6 empty] | residences_share_of_semi_detached_houses_1965_1984_in_useful_demand_for_space_heating
| Semi-detached houses built from 1985 to 2004 | % | [6 empty] | residences_share_of_semi_detached_houses_1985_2004_in_useful_demand_for_space_heating
| Semi-detached houses built from 2005 to present | % | [6 empty] | residences_share_of_semi_detached_houses_2005_present_in_useful_demand_for_space_heating
| Terraced houses built before 1945 | % | [6 empty] | residences_share_of_terraced_houses_before_1945_in_useful_demand_for_space_heating
| Terraced houses built from 1945 to 1964 | % | [6 empty] | residences_share_of_terraced_houses_1945_1964_in_useful_demand_for_space_heating
| Terraced houses built from 1965 to 1984 | % | [6 empty] | residences_share_of_terraced_houses_1965_1984_in_useful_demand_for_space_heating
| Terraced houses built from 1985 to 2004 | % | [6 empty] | residences_share_of_terraced_houses_1985_2004_in_useful_demand_for_space_heating
| Terraced houses built from 2005 to present | % | [6 empty] | residences_share_of_terraced_houses_2005_present_in_useful_demand_for_space_heating
import data
export to 'data/…/ouput' folder
optional: load different Dashbord values

## Corrected energy balance step 2
Corrected energy balance step 2
Notes
PRODUCT | Hard coal (if no detail) | Brown coal (if no detail) | Anthracite | Coking coal | Other bituminous coal | Sub-bituminous coal | Lignite | Patent fuel | Coke oven coke | Gas coke | Coal tar | BKB/peat briquettes | Gas works gas | Coke oven gas | Blast furnace gas | Other recovered gases | Peat | Natural Gas | Crude/NGL/feedstocks (if no detail) | Crude oil | Natural gas liquids | Refinery feedstocks | Additives/blending components | Other hydrocarbons | Refinery gas | Ethane | Liquefied petroleum gases (LPG) | Motor gasoline | Aviation gasoline | Gasoline type jet fuel | Kerosene type jet fuel | Other Kerosene | Gas/diesel oil | Fuel oil | Naphtha | White spirit & SBP | Lubricants | Bitumen | Paraffin waxes | Petroleum coke | Non-specified oil products | Industrial waste | Municipal waste (renewable) | Municipal waste (non-renewable) | Primary solid biofuels | Biogases | Biogasoline | Biodiesels | Other liquid biofuels | Non-specified primary biofuels and waste | Charcoal | Elec/heat output from non-specified manufactured gases | Heat output from non-specified combustible fuels | Nuclear | Hydro | Geothermal | Solar photovoltaics | Solar thermal | Tide, wave and ocean | Wind | Other sources | Electricity | Heat | Total | Memo: Renewables
FLOW
Production
Imports
Exports
International marine bunkers
International aviation bunkers
Stock changes
Total primary energy supply
Transfers
Statistical differences
Transformation processes
Main activity producer electricity plants
Autoproducer electricity plants
Main activity producer CHP plants
Autoproducer CHP plants
Main activity producer heat plants
Autoproducer heat plants
Heat pumps
Electric boilers
Chemical heat for electricity production
Blast furnaces_transformation
Gas works_transformation
Coke ovens_transformation
Patent fuel plants_transformation
BKB plants_transformation
Oil refineries_transformation
Petrochemical plants
Coal liquefaction plants_transformation
Gas-to-liquids (GTL) plants_transformation
For blended natural gas
Charcoal production plants
Non-specified (transformation)
Energy industry own use
Coal mines
Oil and gas extraction
Blast furnaces_own_use
Gas works_own_use
Gasification plants for biogases
Coke ovens_own_use
Patent fuel plants_own_use
BKB plants_own_use
Oil refineries_own_use
Coal liquefaction plants_own_use
Liquefaction (LNG) / regasification plants
Gas-to-liquids (GTL) plants_own_use
Own use in electricity, CHP and heat plants
Pumped storage plants
Nuclear industry
Charcoal production plants
Non-specified (energy)
Losses
Total final consumption
Industry
Iron and steel
Chemical and petrochemical
Non-ferrous metals
Non-metallic minerals
Transport equipment
Machinery
Mining and quarrying
Food and tobacco
Paper, pulp and print
Wood and wood products
Construction
Textile and leather
Non-specified (industry)
Transport
Domestic aviation
Road
Rail
Pipeline transport
Domestic navigation
Non-specified (transport)
Other
Residential
Commercial and public services
Agriculture/forestry
Fishing
Non-specified (other)
Non-energy use
Non-energy use industry/transformation/energy
Memo: Feedstock use in petrochemical industry
Non-energy use in transport
Non-energy use in other
Electricity output (GWh)
Electricity output (GWh)-main activity producer electricity plants
Electricity output (GWh)-autoproducer electricity plants
Electricity output (GWh)-main activity producer CHP plants
Electricity output (GWh)-autoproducer CHP plants
Heat output
Heat output-main activity producer CHP plants
Heat output-autoproducer CHP plants
Heat output-main activity producer heat plants
Heat output-autoproducer heat plants

## technical_specs
Technological specifications
Notes
Here, the technological specifications are imported from Etsource (automatically). These values are not country-specific and cannot be changed.
Technological Specifications |  | Extract data from Etsource | Converter attributes | [5 empty] | HARDCODED (see issue in Changelog)
Application | Technology | converter key | heat efficiency | heat efficiency gas subtechnology | 1 / COP | network gas input | electrical efficiency | light efficiency | input electricity | input network gas | Heating efficiency | Coefficient of performance (COP) | Electrical efficiency | UD share network_gas | Effective heating efficiency | Name in this excel file
|  |  | output.useable_heat | output.useable_heat.network_gas | input.electricity | input.network_gas | output.electricity | output.light
Space Heating
| Condensing Combi Boiler (space heating) | households_space_heater_combined_network_gas.converter | [8 empty] | 0% |  |  |  | 0 | Eff_space_heating_combi_boiler
| Electric Heat Pump (ground) (space heating) | households_space_heater_heatpump_ground_water_electricity.converter | [9 empty] | #DIV/0! |  |  | #DIV/0! | Eff_space_heating_pump_ground
| District Heating (space heating) | households_space_heater_district_heating_ht_steam_hot_water | [8 empty] | 0% |  |  |  | 0 | Eff_space_heating_district
| electricity-driven Heat pump (air) (space heating) | households_space_heater_heatpump_air_water_electricity.converter | [9 empty] | #DIV/0! |  |  | #DIV/0! | Eff_space_heating_pump_air
| woodpellets (biomass) heaters (space heating) | households_space_heater_wood_pellets.converter | [8 empty] | 0% |  |  |  | 0 | Eff_space_heating_woodpellets
| Electric Heaters (resistance) (space heating) | households_space_heater_electricity.converter | [8 empty] | 0% |  |  |  | 0 | Eff_space_heating_electric
| Gas-fired Heaters (space heating) | households_space_heater_network_gas.converter | [8 empty] | 0% |  |  |  | 0 | Eff_space_heating_gas
| Oil-fired Heaters (space heating) | households_space_heater_crude_oil.converter | [8 empty] | 0% |  |  |  | 0 | Eff_space_heating_oil
| Coal-fired Heaters (space heating) | households_space_heater_coal.converter | [8 empty] | 0% |  |  |  | 0 | Eff_space_heating_coal
| Hybrid heatpump, heatpump part (space heating) | households_space_heater_hybrid_heatpump_air_water_electricity.converter | [6 empty] | 0.18057 | 0.18744 |  | 4.5 |  |  | 4.5 | Eff_space_heating_hhp_heatpump
| Hybrid heatpump, gas part (space heating) |  | 0 | 0 | 0.18057 | 0.18744 | 0 | 0 |  |  | 0% |  |  | 0 | 0 | Eff_space_heating_hhp_gas
Hot Water
| Condensing Combi Boiler (hot water) | households_water_heater_combined_network_gas.converter | [8 empty] | 0% |  |  |  | 0 | Eff_hot_water_combi_boiler
| Electric Heat Pump (ground) (hot water) | households_water_heater_heatpump_ground_water_electricity.converter | [9 empty] | #DIV/0! |  |  | #DIV/0! | Eff_hot_water_pump_ground
| District Heating (hot water) | households_water_heater_district_heating_ht_steam_hot_water | [8 empty] | 0% |  |  |  | 0 | Eff_hot_water_district
| electricity-driven Heat pump (air) (hot water) | households_water_heater_heatpump_air_water_electricity.converter | [9 empty] | #DIV/0! |  |  | #DIV/0! | Eff_hot_water_pump_air
| woodpellets (biomass) heaters (hot water) | households_water_heater_wood_pellets.converter | [8 empty] | 0% |  |  |  | 0 | Eff_hot_water_woodpellets
| Electric Heaters (resistance) (hot water) | households_water_heater_resistive_electricity.converter | [8 empty] | 0% |  |  |  | 0 | Eff_hot_water_electric
| Gas-fired Heaters (hot water) | households_water_heater_network_gas.converter | [8 empty] | 0% |  |  |  | 0 | Eff_hot_water_gas
| Oil-fired Heaters (hot water) | households_water_heater_crude_oil.converter | [8 empty] | 0% |  |  |  | 0 | Eff_hot_water_oil
| Coal-fired Heaters (hot water) | households_water_heater_coal.converter | [8 empty] | 0% |  |  |  | 0 | Eff_hot_water_coal
| Hybrid heatpump, heatpump part (hot water) | households_water_heater_hybrid_heatpump_air_water_electricity.converter | [6 empty] | 0.22222 | 0.33333 |  | 3 |  |  | 3 | Eff_hot_water_hhp_heatpump
| Hybrid heatpump, gas part (hot water) |  | 0 | 0 | 0.22222 | 0.33333 | 0 | 0 |  |  | 0% |  |  | 0 | 0 | Eff_hot_water_hhp_gas
Space Cooling
| Electric heat pump ground | households_cooling_heatpump_ground_water_electricity.converter | [9 empty] | #DIV/0! |  |  | #DIV/0! | Eff_cooling_pump_ground
| Electric heat pump air | households_cooling_heatpump_air_water_electricity.converter | [9 empty] | #DIV/0! |  |  | #DIV/0! | Eff_cooling_pump_air
| Conventional electric airconditioning | households_cooling_airconditioning_electricity.converter | [9 empty] | #DIV/0! |  |  | #DIV/0! | Eff_cooling_airco
Cooking
| Gas stoves | households_cooker_network_gas.converter | [8 empty] | 0% |  |  |  | 0 | Eff_cooking_gas
| Electric stoves (resistance) | households_cooker_resistive_electricity.converter | [8 empty] | 0% |  |  |  | 0 | Eff_cooking_electric
| Electric halogen stoves | households_cooker_halogen_electricity.converter | [8 empty] | 0% |  |  |  | 0 | Eff_cooking_halogen
| Electric induction stoves | households_cooker_induction_electricity.converter | [8 empty] | 0% |  |  |  | 0 | Eff_cooking_induction
| Biomass stoves | households_cooker_wood_pellets.converter | [8 empty] | 0% |  |  |  | 0 | Eff_cooking_biomass
Lighting
| Incandescent lamps | households_lighting_incandescent_electricity.converter | [12 empty] | 0% | Eff_lighting_incandescent
| Low energy light bulbs / fluorescent lighting | households_lighting_efficient_fluorescent_electricity.converter | [12 empty] | 0% | Eff_lighting_fluorescent
| LED lamps | households_lighting_led_electricity.converter | [12 empty] | 0% | Eff_lighting_led

## Application Shares
Application splits of final demands
Notes
In this sheet the shares per carrier per application needed for the Energy Transition Model are defined.
Carrier | Application | Final demand per carrier per application (TJ) | Shares per carrier per application
Coal
| Space heating | #DIV/0! | #DIV/0!
| Hot water | #DIV/0! | #DIV/0!
Oil
| Space heating | #DIV/0! | #DIV/0!
| Hot Water | #DIV/0! | #DIV/0!
Network gas
| Space heating | #DIV/0! | #DIV/0!
| Hot water | #DIV/0! | #DIV/0!
| Space cooling | 0 | #DIV/0!
| Cooking | #DIV/0! | #DIV/0!
Woodpellets
| Space heating | #DIV/0! | #DIV/0!
| Hot water | #DIV/0! | #DIV/0!
| Cooking | #DIV/0! | #DIV/0!
Electrity
| Space heating | #DIV/0! | #DIV/0!
| Hot water | #DIV/0! | #DIV/0!
| Cooking | #DIV/0! | #DIV/0!
| Lighting | #DIV/0! | #DIV/0!
| Electrical applicances | 0 | #DIV/0!
| Space cooling | #DIV/0! | #DIV/0!
District Heat (steam_hot_water)
| Space heating | #DIV/0! | #DIV/0!
| Hot water | #DIV/0! | #DIV/0!

## Technology Shares
Technology splits of Final demand
Notes
In this sheet the shares per technology per carrier needed for the Energy Transition Model are defined. Carriers that do not show up here, do not need to be split over more than one technology.
Application | Carrier |  | Percentage of final demand converted by this technology (%) | Share per technology and carrier
Space heating
| Network gas | Gas-fired Heaters (space heating) | #DIV/0! | #DIV/0!
|  | Condensing Combi Boiler (space heating) | #DIV/0! | #DIV/0!
|  | Hybrid heatpump, gas part (space heating) | #DIV/0! | #DIV/0!
| Electricity | Electric Heaters (resistance) (space heating) | #DIV/0! | #DIV/0!
|  | electricity-driven Heat pump (air) (space heating) | #DIV/0! | #DIV/0!
|  | Electric Heat Pump (ground) (space heating) | #DIV/0! | #DIV/0!
|  | Hybrid heatpump, heatpump part (space heating) | #DIV/0! | #DIV/0!
Hot water
| Network gas | Condensing Combi Boiler (hot water) | #DIV/0! | #DIV/0!
|  | Gas-fired Heaters (hot water) | #DIV/0! | #DIV/0!
|  | Hybrid heatpump, gas part (hot water) | #DIV/0! | #DIV/0!
| Electricity | electricity-driven Heat pump (air) (hot water) | #DIV/0! | #DIV/0!
|  | Electric Heat Pump (ground) (hot water) | #DIV/0! | #DIV/0!
|  | Electric Heaters (resistance) (hot water) | #DIV/0! | #DIV/0!
|  | Hybrid heatpump, heatpump part (hot water) | #DIV/0! | #DIV/0!
Space heating / hot water
| Solar thermal | #REF! | #REF! | #REF!
Space cooling
| Electricity | Conventional electric airconditioning | #DIV/0! | #DIV/0!
|  | Electric heat pump ground | #DIV/0! | #DIV/0!
|  | Electric heat pump air | #DIV/0! | #DIV/0!
Cooking
| Electricity | Electric halogen stoves | #DIV/0! | #DIV/0!
|  | Electric induction stoves | #DIV/0! | #DIV/0!
|  | Electric stoves (resistance) | #DIV/0! | #DIV/0!
Lighting
Electricity
|  | Low energy light bulbs / fluorescent lighting | #DIV/0! | #DIV/0!
|  | Incandescent lamps | #DIV/0! | #DIV/0!
|  | LED lamps | #DIV/0! | #DIV/0!
Electric Appliances
Electricity
|  | Dishwashers | 0% | 0%
|  | Fridges / Freezers | 0% | 0%
|  | Washing Machines | 0% | 0%
|  | Dryers | 0% | 0%
|  | Television | 0% | 0%
|  | Computers / Media | 0% | 0%
|  | Vacuum Cleaners | 0% | 0%
|  | Others | 0% | 100%

## Final demand per energy carrier
Final demand per energy carrier
Notes
In this sheet an overview is presented of the allocation of energy carriers over the different technologies and applications. At the bottom of this sheet the size of the electrical appliances and the other appliances are determined.
Final demand per energy carrier | [9 empty] | CALCULATING INPUT SHARES FOR HYBRID HEAT PUMP NODES
Application | Technology used | Percentage of final demand | Final demand for network gas (TJ) | Final demand for electricity (TJ) | Final demand for solar thermal (TJ) | Final demand for coal (TJ) | Final demand for oil (TJ) | Final demand for woodpellets (TJ) | Final demand for district heat (TJ) | COP | Final demand for ambient_heat | Total demand HHP | input.electricity | input.network_gas | input.ambient_heat
Total IEA value
| All |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Space Heating
| Condensing Combi Boiler (space heating) | #DIV/0! | #DIV/0!
| Electric Heat Pump (ground) (space heating) | #DIV/0! |  | #DIV/0!
| District Heating (space heating) | #DIV/0! | [6 empty] | #DIV/0!
| electricity-driven Heat pump (air) (space heating) | #DIV/0! |  | #DIV/0!
| woodpellets (biomass) heaters (space heating) | #DIV/0! | [5 empty] | #DIV/0!
| Electric Heaters (resistance) (space heating) | #DIV/0! |  | #DIV/0!
| Gas-fired Heaters (space heating) | #DIV/0! | #DIV/0!
| Oil-fired Heaters (space heating) | #DIV/0! |  |  |  |  | #DIV/0!
| Coal-fired Heaters (space heating) | #DIV/0! |  |  |  | #DIV/0!
| Hybrid Heatpump, Heatpump part (space heating) | #DIV/0! |  | #DIV/0! | [5 empty] | 4.5 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Hybrid Heatpump, Gas part (space heating) | #DIV/0! | #DIV/0!
Hot Water
| Condensing Combi Boiler (hot water) | #DIV/0! | #DIV/0!
| Electric Heat Pump (ground) (hot water) | #DIV/0! |  | #DIV/0!
| District Heating (hot water) | #DIV/0! | [6 empty] | #DIV/0!
| electricity-driven Heat pump (air) (hot water) | #DIV/0! |  | #DIV/0!
| woodpellets (biomass) heaters (hot water) | #DIV/0! | [5 empty] | #DIV/0!
| Electric Heaters (resistance) (hot water) | #DIV/0! |  | #DIV/0!
| Gas-fired Heaters (hot water) | #DIV/0! | #DIV/0!
| Oil-fired Heaters (hot water) | #DIV/0! |  |  |  |  | #DIV/0!
| Coal-fired Heaters (hot water) | #DIV/0! |  |  |  | #DIV/0!
| Hybrid heatpump, heatpump part (hot water) | #DIV/0! |  | #DIV/0! | [5 empty] | 3 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Hybrid heatpump, gas part (hot water) | #DIV/0! | #DIV/0!
Space Cooling
| Electric heat pump ground | #DIV/0! |  | #DIV/0!
| Electric heat pump air | #DIV/0! |  | #DIV/0!
| Conventional electric airconditioning | #DIV/0! |  | #DIV/0!
Cooking
| Gas stoves | #DIV/0! | #DIV/0!
| Electric stoves (resistance) | #DIV/0! |  | #DIV/0!
| Electric halogen stoves | #DIV/0! |  | #DIV/0!
| Electric induction stoves | #DIV/0! |  | #DIV/0!
| Biomass stoves | #DIV/0! | [5 empty] | #DIV/0!
Lighting
| Incandescent lamps | #DIV/0! |  | #DIV/0!
| Low energy light bulbs / fluorescent lighting | #DIV/0! |  | #DIV/0!
| LED lamps | #DIV/0! |  | #DIV/0!
Electrical Appliances
| Dishwashers | 0% |  | 0
| Fridges / Freezers | 0% |  | 0
| Washing Machines | 0% |  | 0
| Dryers | 0% |  | 0
| Television | 0% |  | 0
| Computers / Media | 0% |  | 0
| Vacuum Cleaners | 0% |  | 0
| Others | 0% |  | 0
Subtotal of defined appliances |  |  | Network gas | Electricity | Solar thermal | Coal | Oil | Woodpellets | District heat
| Subtotal (TJ) |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Diiference between Carrier demand in analysis and Carrier demand in IEA data (TJ) |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Relative error |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Technology split final demand
Conversion 'useful demand shares' to 'final demand shares'
Notes
In this sheet the percentages of heat delivered are converted in percentages of final demand converted per technology by using the technological efficiencies specified in the sheet 'Technological specifications'. An exception to this workflow are the percentages of final demand for district heating, biomass heating and solar thermal panels, which have been directly determined in the sheet 'Final demand extracted from EB'.
Percentages of energy demand
Application | Technology | Percentage of useful demand delivered per technology (Dashboard input) | Percentage of useful demand delivered per subtechnology (same as column D except for HHP) | Effective Efficiency (heating) (Technology specification) | Share of demand allocated to final demand in residences | Relative size of final demand converted by this technology | Percentage of final demand converted by this technology
Space Heating
| Condensing Combi Boiler (space heating) | 0% | 0% | 0 | 100% | #DIV/0! | #DIV/0!
| Electric Heat Pump (ground) (space heating) | 0% | 0% | #DIV/0! | 100% | #DIV/0! | #DIV/0!
| District Heating (space heating) | 0% | 0% | 0 | 100% | #DIV/0! | #DIV/0!
| electricity-driven Heat pump (air) (space heating) | 0% | 0% | #DIV/0! | 100% | #DIV/0! | #DIV/0!
| woodpellets (biomass) heaters (space heating) | 0% | 0% | 0 | 100% | #DIV/0! | #DIV/0!
| Electric Heaters (resistance) (space heating) | 0% | 0% | 0 | 100% | #DIV/0! | #DIV/0!
| Gas-fired Heaters (space heating) | 0% | 0% | 0 | 100% | #DIV/0! | #DIV/0!
| Oil-fired Heaters (space heating) | 0% | 0% | 0 | 100% | #DIV/0! | #DIV/0!
| Coal-fired Heaters (space heating) | 0% | 0% | 0 | 100% | #DIV/0! | #DIV/0!
| Hybrid heatpump, heatpump part (space heating) | 0% | 0% | 4.5 | 100% | 0% | #DIV/0!
| Hybrid heatpump, gas part (space heating) |  | 0% | 0 | 100% | #DIV/0! | #DIV/0!
Hot Water
| Condensing Combi Boiler (hot water) | 0% | 0% | 0 | 100% | #DIV/0! | #DIV/0!
| Electric Heat Pump (ground) (hot water) | 0% | 0% | #DIV/0! | 100% | #DIV/0! | #DIV/0!
| District Heating (hot water) | 0% | 0% | 0 | 100% | #DIV/0! | #DIV/0!
| electricity-driven Heat pump (air) (hot water) | 0% | 0% | #DIV/0! | 100% | #DIV/0! | #DIV/0!
| woodpellets (biomass) heaters (hot water) | 0% | 0% | 0 | 100% | #DIV/0! | #DIV/0!
| Electric Heaters (resistance) (hot water) | 0% | 0% | 0 | 100% | #DIV/0! | #DIV/0!
| Gas-fired Heaters (hot water) | 0% | 0% | 0 | 100% | #DIV/0! | #DIV/0!
| Oil-fired Heaters (hot water) | 0% | 0% | 0 | 100% | #DIV/0! | #DIV/0!
| Coal-fired Heaters (hot water) | 0% | 0% | 0 | 100% | #DIV/0! | #DIV/0!
| Hybrid heatpump, heatpump part (hot water) | 0% | 0% | 3 | 100% | 0% | #DIV/0!
| Hybrid heatpump, gas part (hot water) |  | 0% | 0 | 100% | #DIV/0! | #DIV/0!
Space Cooling
| Electric heat pump ground | 0% | 0% | #DIV/0! |  | #DIV/0! | #DIV/0!
| Electric heat pump air | 0% | 0% | #DIV/0! |  | #DIV/0! | #DIV/0!
| Conventional electric airconditioning | 0% | 0% | #DIV/0! |  | #DIV/0! | #DIV/0!
Cooking
| Gas stoves | 0% | 0% | 0 |  | #DIV/0! | #DIV/0!
| Electric stoves (resistance) | 0% | 0% | 0 |  | #DIV/0! | #DIV/0!
| Electric halogen stoves | 0% | 0% | 0 |  | #DIV/0! | #DIV/0!
| Electric induction stoves | 0% | 0% | 0 |  | #DIV/0! | #DIV/0!
| Biomass stoves | 0% | 0% | 0 |  | #DIV/0! | #DIV/0!
Lighting
| Incandescent lamps | 0% | 0% | 0 |  | #DIV/0! | #DIV/0!
| Low energy light bulbs / fluorescent lighting | 0% | 0% | 0 |  | #DIV/0! | #DIV/0!
| LED lamps | 0% | 0% | 0 |  | #DIV/0! | #DIV/0!
Electric Appliances
| Dishwashers | [5 empty] | 0%
| Fridges / Freezers | [5 empty] | 0%
| Washing Machines | [5 empty] | 0%
| Dryers | [5 empty] | 0%
| Television | [5 empty] | 0%
| Computers / Media | [5 empty] | 0%
| Vacuum Cleaners | [5 empty] | 0%
| Others | [5 empty] | 0%

## Fuel aggregation
Fuel Aggregation
Notes
In this sheet the carriers from the energy balance are summed into the carriers that are being used in the commercial and public services sector of the ETM. The result for other carriers should be zero, because these carriers cannot be used in the commercial and public services sector. To see what you should do, please see the dashboard. If you want to trace the problem, please check the energy balance for red cells.
Final demand per energy carrier
Application | Coal | Natural gas | Oil | Woodpellets | Solar thermal | Other | Electricity | Heat | Total demand of aggregated carriers | Total demand in energy balance
Final demand per energy carrier (TJ) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Name in Excel file | Final_demand_coal | Final_demand_gas | Final_demand_oil | Final_demand_woodpellets | Final_demand_solar_thermal | Final_demand_other | Final_demand_electricity | Final_demand_heat |  | Final_demand_residences
Check:
If the
- total demand of aggregated carriers
- total demand in energy balance
are the same,,
the energy carriers have been aggregated correctly.
[9 empty] | Difference: | 0
It is possible that the energy balance of particular countries contains carriers that we do not aggregate to ETM carriers. In that case, this check will fail. For example, we currently do not consider Charcoal in this analysis.

## HHP input shares
HHP input shares
We had troubles with the formerly fixed input shares in HHPs in households. Therefore, we have made these input shares for HHPs dynamic: they can now be set per dataset. For this change, I have added hard-coded input shares for HHPs to 'technical_specs' tab, sbecause this analysis needs the input shares as input. For NL2015 and other country datasets these hard -coded shares have been used. I have also added two new csv-files where the input shares are calculated for HHPs in households.
|  | Final demand households [energy balance] | Share to space heating | Share to HHP space heating | COP | Final demand for HHP | Input shares HHP node
HHP space heating | Network gas | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| Electricity | 0 | #DIV/0! | #DIV/0! | 4.5 | #DIV/0! | #DIV/0!
| Ambient heat |  |  |  |  | #DIV/0! | #DIV/0!
|  |  | Share to hot water | Share to HHP hot water |  | Final demand for HHP | Input shares HHP node
HHP hot water | Network gas | 0 | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
| Electricity | 0 | #DIV/0! | #DIV/0! | 3 | #DIV/0! | #DIV/0!
| Ambient heat |  |  |  |  | #DIV/0! | #DIV/0!

## Useful-final demand percentage
Useful and final demand conversion - reproducing Dashboard figures
Notes
In this sheet the percentages of useful demand delivered by a technology are defined. The figures reproduce the Dashboard input.
Technology Splits
| Technology | Percentage of final demand converted per technology | Final demand converted per technology (TJ) | Effective efficiency | Useful demand created per subtechnology (same as column H, except for HHP) (TJ) | Useful demand created per technology (TJ) | Percentage of useful demand delivered per technology, Dashboard figures
Space Heating
| Condensing Combi Boiler (space heating) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Electric Heat Pump (ground) (space heating) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| District Heating (space heating) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| electricity-driven Heat pump (air) (space heating) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| woodpellets (biomass) heaters (space heating) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Electric Heaters (resistance) (space heating) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Gas-fired Heaters (space heating) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Oil-fired Heaters (space heating) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Coal-fired Heaters (space heating) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Hybrid heatpump, heatpump part (space heating) | #DIV/0! | #DIV/0! | 450% | #DIV/0! | #DIV/0! | #DIV/0!
| Hybrid heatpump, gas part (space heating) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
Hot Water
| Condensing Combi Boiler (hot water) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Electric Heat Pump (ground) (hot water) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| District Heating (hot water) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| electricity-driven Heat pump (air) (hot water) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| woodpellets (biomass) heaters (hot water) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Electric Heaters (resistance) (hot water) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Gas-fired Heaters (hot water) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Oil-fired Heaters (hot water) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Coal-fired Heaters (hot water) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Hybrid heatpump, heatpump part (hot water) | #DIV/0! | #DIV/0! | 300% | #DIV/0! | #DIV/0! | #DIV/0!
| Hybrid heatpump, gas part (hot water) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
Space Cooling
| Electric heat pump ground | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Electric heat pump air | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Conventional electric airconditioning | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Cooking
| Gas stoves | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Electric stoves (resistance) | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Electric halogen stoves | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Electric induction stoves | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Biomass stoves | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
Lighting
| Incandescent lamps | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| Low energy light bulbs / fluorescent lighting | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!
| LED lamps | #DIV/0! | #DIV/0! | 0% | #DIV/0! | #DIV/0! | #DIV/0!

## csv_final_demand_coal
residences_final_demand_coal_parent_share
key | share
households_final_demand_for_space_heating_coal | #DIV/0!
households_final_demand_for_hot_water_coal | #DIV/0!

## csv_final_demand_crude_oil
residences_final_demand_crude_oil_parent_share
key | share
households_final_demand_for_space_heating_crude_oil | #DIV/0!
households_final_demand_for_hot_water_crude_oil | #DIV/0!

## csv_final_demand_network_gas
residences_final_demand_network_gas_parent_share
key | share
households_final_demand_for_cooking_network_gas | #DIV/0!
households_final_demand_for_cooling_network_gas | #DIV/0!
households_final_demand_for_hot_water_network_gas | #DIV/0!
households_final_demand_for_space_heating_network_gas | #DIV/0!

## csv_final_demand_woodpellets
residences_final_demand_wood_pellets_parent_share
key | share
households_final_demand_for_space_heating_wood_pellets | #DIV/0!
households_final_demand_for_hot_water_wood_pellets | #DIV/0!
households_final_demand_for_cooking_wood_pellets | #DIV/0!

## csv_final_demand_electricity
residences_final_demand_electricity_parent_share
key | share
households_final_demand_for_cooling_electricity | #DIV/0!
households_final_demand_for_space_heating_electricity | #DIV/0!
households_final_demand_for_hot_water_electricity | #DIV/0!
households_final_demand_for_cooking_electricity | #DIV/0!
households_final_demand_for_lighting_electricity | #DIV/0!
households_final_demand_for_applicances_electricity | #DIV/0!

## csv_final_demand_steam
residences_final_demand_steam_hot_water_parent_share
key | share
households_final_demand_for_hot_water_steam_hot_water | #DIV/0!
households_final_demand_for_space_heating_steam_hot_water | #DIV/0!

## csv_cooling_electricity
residences_final_demand_for_cooling_electricity_parent_share
key | share
households_cooling_airconditioning_electricity | #DIV/0!
households_cooling_heatpump_ground_water_electricity | #DIV/0!
households_cooling_heatpump_air_water_electricity | #DIV/0!

## csv_heating_network_gas
residences_final_demand_for_space_heating_network_gas_parent_share
key | share
households_space_heater_network_gas | #DIV/0!
households_space_heater_combined_network_gas | #DIV/0!
households_space_heater_hybrid_heatpump_air_water_electricity | #DIV/0!

## csv_heating_electricity
residences_final_demand_for_space_heating_electricity_parent_share
key | share
households_space_heater_electricity | #DIV/0!
households_space_heater_heatpump_air_water_electricity | #DIV/0!
households_space_heater_heatpump_ground_water_electricity | #DIV/0!
households_space_heater_hybrid_heatpump_air_water_electricity | #DIV/0!

## csv_water_network_gas
residences_final_demand_for_hot_water_network_gas_parent_share
key | share
households_water_heater_combined_network_gas | #DIV/0!
households_water_heater_network_gas | #DIV/0!
households_water_heater_hybrid_heatpump_air_water_electricity | #DIV/0!

## csv_water_electricity
residences_final_demand_for_hot_water_electricity_parent_share
key | share
households_water_heater_heatpump_air_water_electricity | #DIV/0!
households_water_heater_heatpump_ground_water_electricity | #DIV/0!
households_water_heater_resistive_electricity | #DIV/0!
households_water_heater_hybrid_heatpump_air_water_electricity | #DIV/0!

## csv_cooking_electricity
residences_final_demand_for_cooking_electricity_parent_share
key | share
households_cooker_halogen_electricity | #DIV/0!
households_cooker_induction_electricity | #DIV/0!
households_cooker_resistive_electricity | #DIV/0!

## csv_lighting_electricity
residences_final_demand_for_lighting_electricity_parent_share
key | share
households_lighting_efficient_fluorescent_electricity | #DIV/0!
households_lighting_incandescent_electricity | #DIV/0!
households_lighting_led_electricity | #DIV/0!

## csv_appliances_electricity
residences_final_demand_for_appliances_electricity_parent_share
key | share
households_appliances_dishwasher_electricity | 0
households_appliances_fridge_freezer_electricity | 0
households_appliances_washing_machine_electricity | 0
households_appliances_clothes_dryer_electricity | 0
households_appliances_television_electricity | 0
households_appliances_computer_media_electricity | 0
households_appliances_vacuum_cleaner_electricity | 0
households_appliances_other_electricity | 1

## csv_export_to_area_analysis
export_to_area_analysis
key | value
present_number_of_residences | 0
present_number_of_apartments_before_1945 | 0
present_number_of_apartments_1945_1964 | 0
present_number_of_apartments_1965_1984 | 0
present_number_of_apartments_1985_2004 | 0
present_number_of_apartments_2005_present | 0
present_number_of_detached_houses_before_1945 | 0
present_number_of_detached_houses_1945_1964 | 0
present_number_of_detached_houses_1965_1984 | 0
present_number_of_detached_houses_1985_2004 | 0
present_number_of_detached_houses_2005_present | 0
present_number_of_semi_detached_houses_before_1945 | 0
present_number_of_semi_detached_houses_1945_1964 | 0
present_number_of_semi_detached_houses_1965_1984 | 0
present_number_of_semi_detached_houses_1985_2004 | 0
present_number_of_semi_detached_houses_2005_present | 0
present_number_of_terraced_houses_before_1945 | 0
present_number_of_terraced_houses_1945_1964 | 0
present_number_of_terraced_houses_1965_1984 | 0
present_number_of_terraced_houses_1985_2004 | 0
present_number_of_terraced_houses_2005_present | 0
present_share_of_apartments_before_1945_in_useful_demand_for_space_heating | 0
present_share_of_apartments_1945_1964_in_useful_demand_for_space_heating | 0
present_share_of_apartments_1965_1984_in_useful_demand_for_space_heating | 0
present_share_of_apartments_1985_2004_in_useful_demand_for_space_heating | 0
present_share_of_apartments_2005_present_in_useful_demand_for_space_heating | 0
present_share_of_detached_houses_before_1945_in_useful_demand_for_space_heating | 0
present_share_of_detached_houses_1945_1964_in_useful_demand_for_space_heating | 0
present_share_of_detached_houses_1965_1984_in_useful_demand_for_space_heating | 0
present_share_of_detached_houses_1985_2004_in_useful_demand_for_space_heating | 0
present_share_of_detached_houses_2005_present_in_useful_demand_for_space_heating | 0
present_share_of_semi_detached_houses_before_1945_in_useful_demand_for_space_heating | 0
present_share_of_semi_detached_houses_1945_1964_in_useful_demand_for_space_heating | 0
present_share_of_semi_detached_houses_1965_1984_in_useful_demand_for_space_heating | 0
present_share_of_semi_detached_houses_1985_2004_in_useful_demand_for_space_heating | 0
present_share_of_semi_detached_houses_2005_present_in_useful_demand_for_space_heating | 0
present_share_of_terraced_houses_before_1945_in_useful_demand_for_space_heating | 0
present_share_of_terraced_houses_1945_1964_in_useful_demand_for_space_heating | 0
present_share_of_terraced_houses_1965_1984_in_useful_demand_for_space_heating | 0
present_share_of_terraced_houses_1985_2004_in_useful_demand_for_space_heating | 0
present_share_of_terraced_houses_2005_present_in_useful_demand_for_space_heating | 0

## csv_heating_hhp_efficiencies
households_space_heater_hybrid_heatpump_air_water_electricity_efficiency
key | share
input.network_gas | 0.187
input.electricity | 0.18
input.ambient_heat | 0.633

## csv_hot_water_hhp_efficiencies
households_water_heater_hybrid_heatpump_air_water_electricity_efficiency
key | share
input.network_gas | 0.33
input.electricity | 0.22
input.ambient_heat | 0.45